## Sheet1
Method:
Particle Name | Cellulose
Particle Refractive Index | 1.468
Particle Absorption Index | 0.01
Dispersant Name | Water
Dispersant Refractive Index | 1.33
a-chitin
Concentration | 0.1221%
Span | 1.876
Uniformity | 0.564
Specific Surface Area | 62,45 m²/kg
D [3;2] | 96,1 μm
D [4;3] | 248 μm
Dx (10) | 45,2 μm
Dx (50) | 228 μm
Dx (90) | 473 μm
Record Number | Sample Name | Measurement Date Time | D [4;3] | D [3;2] | Dx (10) | Dx (50) | Dx (90) | Operator Name | Instrument Serial No. | D [1;0] | Concentration
1 | a-chitin | 2026-09-20 15:59 | 248 | 96.1 | 45.2 | 228 | 473 | Mastersizer | MAL1062523 | 7.9 | 0.1221
2 | a-chitin | 2026-09-20 15:59 | 242 | 90.9 | 41.2 | 223 | 465 | Mastersizer | MAL1062523 | 7.85 | 0.1221
3 | a-chitin | 2026-09-20 15:59 | 243 | 88.3 | 39 | 222 | 471 | Mastersizer | MAL1062523 | 7.83 | 0.124
4 | a-chitin | 2026-09-20 16:00 | 242 | 85.6 | 37 | 221 | 472 | Mastersizer | MAL1062523 | 7.81 | 0.1254
5 | a-chitin | 2026-09-20 16:00 | 236 | 81.5 | 35 | 216 | 460 | Mastersizer | MAL1062523 | 7.1 | 0.1233
b-chitin
Concentration | 0.0969%
Span | 2.811
Uniformity | 0.86
Specific Surface Area | 69,56 m²/kg
D [3;2] | 86,3 μm
D [4;3] | 242 μm
Dx (10) | 41,6 μm
Dx (50) | 177 μm
Dx (90) | 540 μm
| Record Number | Sample Name | Dx (10) (μm) | Dx (50) (μm) | Dx (90) (μm)
| 6 | b-chitin | 41.6 | 177 | 540
| 7 | b-chitin | 42.5 | 181 | 543
| 8 | b-chitin | 42.3 | 177 | 547
| 9 | b-chitin | 43.2 | 184 | 569
| 10 | b-chitin | 43.3 | 182 | 545
Mean |  |  | 42.6 | 181 | 549
1xStd Dev |  |  | 0.679 | 3.15 | 11.4
1RSD (%) |  |  | 1.6 | 1.75 | 2.08
CNC
Result
Concentration | 0.4315%
Span | 0.877
Uniformity | 0.277
Specific Surface Area | 9,248 m²/kg
D [3;2] | 649 μm
D [4;3] | 1720 μm
Dx (10) | 1060 μm
Dx (50) | 1660 μm
Dx (90) | 2520 μm
| Record Number | Sample Name | Dx (10) (μm) | Dx (50) (μm) | Dx (90) (μm)
| 16 | CNC | 1060 | 1660 | 2520
| 17 | CNC | 1090 | 1680 | 2520
| 18 | CNC | 1040 | 1610 | 2410
| 19 | CNC | 1010 | 1540 | 2330
| 20 | CNC | 1030 | 1590 | 2380
Mean |  |  | 1050 | 1620 | 2430
1xStd Dev |  |  | 31.5 | 55.9 | 83.7
1RSD (%) |  |  | 3.01 | 3.46 | 3.44
CNF
Result
Concentration | 0.0347%
Span | 29.003
Uniformity | 6.875
Specific Surface Area | 154,0 m²/kg
D [3;2] | 39,0 μm
D [4;3] | 405 μm
Dx (10) | 16,6 μm
Dx (50) | 54,7 μm
Dx (90) | 1600 μm

## CNF
Frequency (compatible)
| [11] CNF_mech-20.09.2026 16:47:54 |  | [12] CNF_mech-20.09.2026 16:48:21 |  | [13] CNF_mech-20.09.2026 16:48:47 |  | [14] CNF_mech-20.09.2026 16:49:10 |  | [15] CNF_mech-20.09.2026 16:49:33
Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%)
0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0
0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0
0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0
0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0
0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0
0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0
0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0
0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0
0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0
0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0
0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0
0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0
0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0
0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0
0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0
0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0
0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0
0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0
0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0
0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0
0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0
0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0
0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0
0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0
0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0
0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0
0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0
0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0
0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0
0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0
0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0
0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0
0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0
0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0
0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0
0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0
1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0
1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0
1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0
1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0
1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0
1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0
2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0
2.5803 | 0 | 2.5803 | 8.9934e-05 | 2.5803 | 0 | 2.5803 | 9.6891e-05 | 2.5803 | 8.9955e-05
2.9316 | 9.2401e-05 | 2.9316 | 0.0071348 | 2.9316 | 0.00010475 | 2.9316 | 0.0077544 | 2.9316 | 0.0072457
3.3308 | 0.0070632 | 3.3308 | 0.07085 | 3.3308 | 0.0081106 | 3.3308 | 0.077381 | 3.3308 | 0.072549
3.7844 | 0.069282 | 3.7844 | 0.099297 | 3.7844 | 0.080128 | 3.7844 | 0.11201 | 3.7844 | 0.10709
4.2996 | 0.093374 | 4.2996 | 0.12439 | 4.2996 | 0.11308 | 4.2996 | 0.14961 | 4.2996 | 0.14652
4.8851 | 0.12847 | 4.8851 | 0.17358 | 4.8851 | 0.16555 | 4.8851 | 0.2215 | 4.8851 | 0.22014
5.5503 | 0.20087 | 5.5503 | 0.27439 | 5.5503 | 0.26772 | 5.5503 | 0.35694 | 5.5503 | 0.35464
6.306 | 0.32409 | 6.306 | 0.44419 | 6.306 | 0.43389 | 6.306 | 0.57257 | 6.306 | 0.56448
7.1647 | 0.50073 | 7.1647 | 0.68638 | 7.1647 | 0.66523 | 7.1647 | 0.86865 | 7.1647 | 0.84839
8.1402 | 0.73122 | 8.1402 | 1 | 8.1402 | 0.95818 | 8.1402 | 1.2389 | 8.1402 | 1.1987
9.2486 | 1.0238 | 9.2486 | 1.3913 | 9.2486 | 1.3142 | 9.2486 | 1.6822 | 9.2486 | 1.6123
10.5079 | 1.3924 | 10.5079 | 1.8705 | 10.5079 | 1.7374 | 10.5079 | 2.1998 | 10.5079 | 2.0883
11.9387 | 1.8457 | 11.9387 | 2.4404 | 11.9387 | 2.2251 | 11.9387 | 2.785 | 11.9387 | 2.6187
13.5643 | 2.3823 | 13.5643 | 3.0911 | 13.5643 | 2.7643 | 13.5643 | 3.4193 | 13.5643 | 3.185
15.4113 | 2.9888 | 15.4113 | 3.7984 | 15.4113 | 3.3311 | 15.4113 | 4.0719 | 15.4113 | 3.7585
17.5097 | 3.6377 | 17.5097 | 4.5234 | 17.5097 | 3.8909 | 17.5097 | 4.7013 | 17.5097 | 4.3017
19.8939 | 4.2874 | 19.8939 | 5.2142 | 19.8939 | 4.4008 | 19.8939 | 5.2582 | 19.8939 | 4.7713
22.6027 | 4.8862 | 22.6027 | 5.8114 | 22.6027 | 4.8154 | 22.6027 | 5.6921 | 22.6027 | 5.1243
25.6804 | 5.3786 | 25.6804 | 6.2576 | 25.6804 | 5.0936 | 25.6804 | 5.9604 | 25.6804 | 5.326
29.1771 | 5.7151 | 29.1771 | 6.507 | 29.1771 | 5.2073 | 29.1771 | 6.0364 | 29.1771 | 5.3574
33.15 | 5.8607 | 33.15 | 6.5357 | 33.15 | 5.1474 | 33.15 | 5.917 | 33.15 | 5.2208
37.6638 | 5.8029 | 37.6638 | 6.3473 | 37.6638 | 4.9272 | 37.6638 | 5.6244 | 37.6638 | 4.9413
42.7922 | 5.5548 | 42.7922 | 5.9736 | 42.7922 | 4.5809 | 42.7922 | 5.2038 | 42.7922 | 4.5631
48.6189 | 5.1527 | 48.6189 | 5.4683 | 48.6189 | 4.1565 | 48.6189 | 4.7141 | 48.6189 | 4.1409
55.239 | 4.6482 | 55.239 | 4.8959 | 55.239 | 3.7066 | 55.239 | 4.2162 | 55.239 | 3.7287
62.7605 | 4.0982 | 62.7605 | 4.3181 | 62.7605 | 3.2776 | 62.7605 | 3.7608 | 62.7605 | 3.3682
71.3062 | 3.5543 | 71.3062 | 3.7836 | 71.3062 | 2.9019 | 71.3062 | 3.3794 | 71.3062 | 3.0817
81.0155 | 3.0561 | 81.0155 | 3.3211 | 81.0155 | 2.595 | 81.0155 | 3.082 | 81.0155 | 2.8701
92.0468 | 2.6274 | 92.0468 | 2.9392 | 92.0468 | 2.3558 | 92.0468 | 2.8588 | 92.0468 | 2.7163
104.5802 | 2.278 | 104.5802 | 2.6308 | 104.5802 | 2.172 | 104.5802 | 2.6883 | 104.5802 | 2.5933
118.8201 | 2.0061 | 118.8201 | 2.3806 | 118.8201 | 2.0266 | 118.8201 | 2.546 | 118.8201 | 2.4736
134.999 | 1.803 | 134.999 | 2.1718 | 134.999 | 1.9041 | 134.999 | 2.4126 | 134.999 | 2.3379
153.3809 | 1.6557 | 153.3809 | 1.9915 | 153.3809 | 1.7936 | 153.3809 | 2.2783 | 153.3809 | 2.18
174.2658 | 1.5483 | 174.2658 | 1.8321 | 174.2658 | 1.6896 | 174.2658 | 2.1433 | 174.2658 | 2.0067
197.9943 | 1.4637 | 197.9943 | 1.6909 | 197.9943 | 1.5899 | 197.9943 | 2.0142 | 197.9943 | 1.8341
224.9538 | 1.3864 | 224.9538 | 1.5683 | 224.9538 | 1.4946 | 224.9538 | 1.9011 | 224.9538 | 1.682
255.5843 | 1.303 | 255.5843 | 1.4651 | 255.5843 | 1.4033 | 255.5843 | 1.8123 | 255.5843 | 1.5674
290.3854 | 1.204 | 290.3854 | 1.3793 | 290.3854 | 1.3138 | 290.3854 | 1.7493 | 290.3854 | 1.4977
329.9252 | 1.0874 | 329.9252 | 1.3075 | 329.9252 | 1.2263 | 329.9252 | 1.7078 | 329.9252 | 1.4719
374.8488 | 0.96265 | 374.8488 | 1.2486 | 374.8488 | 1.1473 | 374.8488 | 1.6809 | 374.8488 | 1.4841
425.8894 | 0.84913 | 425.8894 | 1.2039 | 425.8894 | 1.0911 | 425.8894 | 1.6597 | 425.8894 | 1.5258
483.8798 | 0.77016 | 483.8798 | 1.1735 | 483.8798 | 1.0761 | 483.8798 | 1.6332 | 483.8798 | 1.5862
549.7664 | 0.74749 | 549.7664 | 1.1546 | 549.7664 | 1.1204 | 549.7664 | 1.5896 | 549.7664 | 1.6531
624.6243 | 0.79779 | 624.6243 | 1.141 | 624.6243 | 1.2361 | 624.6243 | 1.5181 | 624.6243 | 1.7134
709.6751 | 0.93045 | 709.6751 | 1.1246 | 709.6751 | 1.4247 | 709.6751 | 1.4118 | 709.6751 | 1.7548
806.3066 | 1.1458 | 806.3066 | 1.0965 | 806.3066 | 1.6753 | 806.3066 | 1.2696 | 806.3066 | 1.7682
916.0958 | 1.4333 | 916.0958 | 1.0488 | 916.0958 | 1.9649 | 916.0958 | 1.0977 | 916.0958 | 1.7495
1040.8343 | 1.769 | 1040.8343 | 0.97659 | 1040.8343 | 2.2606 | 1040.8343 | 0.90767 | 1040.8343 | 1.6987
1182.5575 | 2.1152 | 1182.5575 | 0.88024 | 1182.5575 | 2.5232 | 1182.5575 | 0.71345 | 1182.5575 | 1.6188
1343.5782 | 2.4237 | 1343.5782 | 0.76586 | 1343.5782 | 2.7132 | 1343.5782 | 0.52781 | 1343.5782 | 1.5132
1526.5239 | 2.6416 | 1526.5239 | 0.64332 | 1526.5239 | 2.7959 | 1526.5239 | 0.34242 | 1526.5239 | 1.3846
1734.3802 | 2.7205 | 1734.3802 | 0.5228 | 1734.3802 | 2.7458 | 1734.3802 | 0.15839 | 1734.3802 | 1.2347
1970.5388 | 2.6262 | 1970.5388 | 0.41192 | 1970.5388 | 2.5512 | 1970.5388 | 0.015822 | 1970.5388 | 1.0652
2238.8534 | 2.3484 | 2238.8534 | 0.3139 | 2238.8534 | 2.2174 | 2238.8534 | 0.00028873 | 2238.8534 | 0.87764
2543.7027 | 1.9047 | 2543.7027 | 0.22728 | 2543.7027 | 1.7654 | 2543.7027 | 0 | 2543.7027 | 0.67391
2890.0611 | 1.3334 | 2890.0611 | 0.14839 | 2890.0611 | 1.2238 | 2890.0611 | 0 | 2890.0611 | 0.45616
3283.5808 | 0.68703 | 3283.5808 | 0.073743 | 3283.5808 | 0.62828 | 3283.5808 | 0 | 3283.5808 | 0.2313

## CNC
Frequency (compatible)
| [16] CNC-20.09.2026 17:25:31 |  | [17] CNC-20.09.2026 17:25:58 |  | [18] CNC-20.09.2026 17:26:27 |  | [19] CNC-20.09.2026 17:26:56 |  | [20] CNC-20.09.2026 17:27:19
Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%)
0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0
0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0
0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0
0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0
0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0
0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0
0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0
0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0
0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0
0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0
0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0
0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0
0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0
0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0
0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0
0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0
0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0
0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0
0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0
0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0
0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0
0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0
0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0
0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0
0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0
0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0
0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0
0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0
0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0
0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0
0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0
0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0
0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0
0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0
0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0
0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0
1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0
1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0
1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0
1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0
1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0
1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0
2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0
2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0
2.9316 | 0 | 2.9316 | 0 | 2.9316 | 0 | 2.9316 | 0 | 2.9316 | 0
3.3308 | 0 | 3.3308 | 0 | 3.3308 | 0 | 3.3308 | 0 | 3.3308 | 0
3.7844 | 0 | 3.7844 | 0 | 3.7844 | 0 | 3.7844 | 0 | 3.7844 | 0
4.2996 | 0 | 4.2996 | 0 | 4.2996 | 0 | 4.2996 | 0 | 4.2996 | 0
4.8851 | 0 | 4.8851 | 0 | 4.8851 | 0 | 4.8851 | 0 | 4.8851 | 0
5.5503 | 0 | 5.5503 | 0 | 5.5503 | 0 | 5.5503 | 0 | 5.5503 | 0
6.306 | 0 | 6.306 | 0 | 6.306 | 0 | 6.306 | 0 | 6.306 | 0
7.1647 | 0 | 7.1647 | 0 | 7.1647 | 0 | 7.1647 | 0 | 7.1647 | 0
8.1402 | 0.00010585 | 8.1402 | 0.00010231 | 8.1402 | 8.5631e-05 | 8.1402 | 8.8529e-05 | 8.1402 | 8.2932e-05
9.2486 | 0.0074317 | 9.2486 | 0.0071895 | 9.2486 | 0.0060714 | 9.2486 | 0.0062626 | 9.2486 | 0.005912
10.5079 | 0.072569 | 10.5079 | 0.070239 | 10.5079 | 0.059605 | 10.5079 | 0.061406 | 10.5079 | 0.058209
11.9387 | 0.10342 | 11.9387 | 0.10038 | 11.9387 | 0.087441 | 11.9387 | 0.089506 | 11.9387 | 0.086693
13.5643 | 0.13144 | 13.5643 | 0.12798 | 13.5643 | 0.11461 | 13.5643 | 0.11664 | 13.5643 | 0.11524
15.4113 | 0.16338 | 15.4113 | 0.15957 | 15.4113 | 0.14704 | 15.4113 | 0.14905 | 15.4113 | 0.14943
17.5097 | 0.19979 | 17.5097 | 0.19566 | 17.5097 | 0.18586 | 17.5097 | 0.18807 | 17.5097 | 0.18997
19.8939 | 0.23835 | 19.8939 | 0.23391 | 19.8939 | 0.22962 | 19.8939 | 0.23244 | 19.8939 | 0.23489
22.6027 | 0.27328 | 22.6027 | 0.26856 | 22.6027 | 0.27306 | 22.6027 | 0.27703 | 22.6027 | 0.27831
25.6804 | 0.29592 | 25.6804 | 0.29104 | 25.6804 | 0.30709 | 25.6804 | 0.31271 | 25.6804 | 0.31062
29.1771 | 0.29708 | 29.1771 | 0.29228 | 29.1771 | 0.32067 | 29.1771 | 0.32819 | 29.1771 | 0.32057
33.15 | 0.2705 | 33.15 | 0.26606 | 33.15 | 0.30435 | 33.15 | 0.31354 | 33.15 | 0.29908
37.6638 | 0.21639 | 37.6638 | 0.21267 | 37.6638 | 0.25476 | 37.6638 | 0.26479 | 37.6638 | 0.24408
42.7922 | 0.13687 | 42.7922 | 0.13431 | 42.7922 | 0.17876 | 42.7922 | 0.18818 | 42.7922 | 0.15634
48.6189 | 0.013641 | 48.6189 | 0.013381 | 48.6189 | 0.092166 | 48.6189 | 0.098912 | 48.6189 | 0.015615
55.239 | 0.00018125 | 55.239 | 0.00017769 | 55.239 | 0.0087754 | 55.239 | 0.0094636 | 55.239 | 0.0002081
62.7605 | 0 | 62.7605 | 0 | 62.7605 | 0.00010798 | 62.7605 | 0.00011754 | 62.7605 | 0
71.3062 | 0 | 71.3062 | 0 | 71.3062 | 0 | 71.3062 | 0 | 71.3062 | 0
81.0155 | 0 | 81.0155 | 0 | 81.0155 | 0 | 81.0155 | 0 | 81.0155 | 0
92.0468 | 0 | 92.0468 | 0 | 92.0468 | 0 | 92.0468 | 0 | 92.0468 | 0
104.5802 | 0 | 104.5802 | 0 | 104.5802 | 0 | 104.5802 | 0 | 104.5802 | 0
118.8201 | 0 | 118.8201 | 0 | 118.8201 | 0 | 118.8201 | 0 | 118.8201 | 0
134.999 | 0 | 134.999 | 0 | 134.999 | 0 | 134.999 | 0 | 134.999 | 0
153.3809 | 0 | 153.3809 | 0 | 153.3809 | 0 | 153.3809 | 0 | 153.3809 | 0
174.2658 | 0 | 174.2658 | 0 | 174.2658 | 0 | 174.2658 | 0 | 174.2658 | 0
197.9943 | 0 | 197.9943 | 0 | 197.9943 | 0 | 197.9943 | 0 | 197.9943 | 0
224.9538 | 0 | 224.9538 | 0 | 224.9538 | 0 | 224.9538 | 0 | 224.9538 | 0
255.5843 | 0 | 255.5843 | 0 | 255.5843 | 0 | 255.5843 | 0 | 255.5843 | 0
290.3854 | 0 | 290.3854 | 0 | 290.3854 | 0 | 290.3854 | 0 | 290.3854 | 0
329.9252 | 0 | 329.9252 | 0 | 329.9252 | 0 | 329.9252 | 0 | 329.9252 | 0
374.8488 | 0 | 374.8488 | 0 | 374.8488 | 0 | 374.8488 | 0 | 374.8488 | 0
425.8894 | 0 | 425.8894 | 0 | 425.8894 | 0 | 425.8894 | 0 | 425.8894 | 0
483.8798 | 0 | 483.8798 | 0 | 483.8798 | 6.6841e-06 | 483.8798 | 7.8007e-06 | 483.8798 | 7.9498e-06
549.7664 | 0.00012723 | 549.7664 | 3.6039e-05 | 549.7664 | 0.00051601 | 549.7664 | 0.0011483 | 549.7664 | 0.00092666
624.6243 | 0.019356 | 624.6243 | 0.011382 | 624.6243 | 0.025644 | 624.6243 | 0.039289 | 624.6243 | 0.034301
709.6751 | 0.28324 | 709.6751 | 0.18843 | 709.6751 | 0.32861 | 709.6751 | 0.43326 | 709.6751 | 0.39133
806.3066 | 1.3286 | 806.3066 | 1.0403 | 806.3066 | 1.5152 | 806.3066 | 1.8887 | 806.3066 | 1.706
916.0958 | 3.5815 | 916.0958 | 3.0984 | 916.0958 | 4.0576 | 916.0958 | 4.8835 | 916.0958 | 4.4193
1040.8343 | 6.985 | 1040.8343 | 6.4578 | 1040.8343 | 7.8275 | 1040.8343 | 9.1078 | 1040.8343 | 8.3153
1182.5575 | 10.9365 | 1182.5575 | 10.5899 | 1182.5575 | 12.0488 | 1182.5575 | 13.5037 | 1182.5575 | 12.528
1343.5782 | 14.5164 | 1343.5782 | 14.516 | 1343.5782 | 15.6278 | 1343.5782 | 16.7915 | 1343.5782 | 15.9353
1526.5239 | 16.844 | 1526.5239 | 17.2036 | 1526.5239 | 17.6175 | 1526.5239 | 18.0668 | 1526.5239 | 17.6471
1734.3802 | 17.377 | 1734.3802 | 17.9572 | 1734.3802 | 17.5587 | 1734.3802 | 17.1218 | 1734.3802 | 17.316
1970.5388 | 16.0401 | 1970.5388 | 16.6278 | 1970.5388 | 15.5705 | 1970.5388 | 14.3921 | 1970.5388 | 15.1621
2238.8534 | 13.175 | 2238.8534 | 13.5875 | 2238.8534 | 12.2119 | 2238.8534 | 10.6655 | 2238.8534 | 11.7824
2543.7027 | 9.3929 | 2543.7027 | 9.5534 | 2543.7027 | 8.2418 | 2543.7027 | 6.7854 | 2543.7027 | 7.8994
2890.0611 | 5.3659 | 2890.0611 | 5.3099 | 2890.0611 | 4.2036 | 2890.0611 | 3.3338 | 2890.0611 | 3.9568
3283.5808 | 1.5698 | 3283.5808 | 1.343 | 3283.5808 | 0.52475 | 3283.5808 | 0.29542 | 3283.5808 | 0.38303

## a-chitin
Frequency (compatible)
| [1] a-chitin-20.09.2026 15:58:42 |  | [2] a-chitin-20.09.2026 15:59:07 |  | [3] a-chitin-20.09.2026 15:59:30 |  | [4] a-chitin-20.09.2026 15:59:54 |  | [5] a-chitin-20.09.2026 16:00:21
Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%)
0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0
0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0
0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0
0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0
0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0
0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0
0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0
0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0
0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0
0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0
0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0
0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0
0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0
0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0
0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0
0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0
0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0
0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0
0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0
0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0
0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0
0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0
0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0
0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0
0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0
0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0
0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0
0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0
0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0
0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0
0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0
0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0
0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0
0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0
0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0
0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0
1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0
1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0
1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0
1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0
1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0
1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0
2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0
2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 8.4673e-05
2.9316 | 9.1002e-05 | 2.9316 | 0.00010313 | 2.9316 | 0.00011018 | 2.9316 | 0.00011717 | 2.9316 | 0.0068554
3.3308 | 0.0070941 | 3.3308 | 0.0080111 | 3.3308 | 0.0085361 | 3.3308 | 0.0090641 | 3.3308 | 0.068767
3.7844 | 0.070227 | 3.7844 | 0.079156 | 3.7844 | 0.084227 | 3.7844 | 0.089369 | 3.7844 | 0.10151
4.2996 | 0.098106 | 4.2996 | 0.10942 | 4.2996 | 0.11552 | 4.2996 | 0.12206 | 4.2996 | 0.1284
4.8851 | 0.12221 | 4.8851 | 0.13502 | 4.8851 | 0.1417 | 4.8851 | 0.14938 | 4.8851 | 0.15669
5.5503 | 0.15032 | 5.5503 | 0.16491 | 5.5503 | 0.1725 | 5.5503 | 0.18174 | 5.5503 | 0.19065
6.306 | 0.18349 | 6.306 | 0.20067 | 6.306 | 0.20986 | 6.306 | 0.22133 | 6.306 | 0.23255
7.1647 | 0.22018 | 7.1647 | 0.24115 | 7.1647 | 0.25294 | 7.1647 | 0.26747 | 7.1647 | 0.2819
8.1402 | 0.25875 | 8.1402 | 0.28499 | 8.1402 | 0.30059 | 8.1402 | 0.31905 | 8.1402 | 0.33763
9.2486 | 0.3003 | 9.2486 | 0.3334 | 9.2486 | 0.35416 | 9.2486 | 0.37739 | 9.2486 | 0.40103
10.5079 | 0.34853 | 10.5079 | 0.39007 | 10.5079 | 0.41735 | 10.5079 | 0.4461 | 10.5079 | 0.47564
11.9387 | 0.40748 | 11.9387 | 0.45886 | 11.9387 | 0.49386 | 11.9387 | 0.5287 | 11.9387 | 0.56477
13.5643 | 0.48034 | 13.5643 | 0.54262 | 13.5643 | 0.58615 | 13.5643 | 0.62742 | 13.5643 | 0.67031
15.4113 | 0.56927 | 15.4113 | 0.64298 | 15.4113 | 0.69525 | 15.4113 | 0.74297 | 15.4113 | 0.79259
17.5097 | 0.6746 | 17.5097 | 0.7596 | 17.5097 | 0.81996 | 17.5097 | 0.87383 | 17.5097 | 0.92954
19.8939 | 0.79444 | 19.8939 | 0.88966 | 19.8939 | 0.95645 | 19.8939 | 1.0158 | 19.8939 | 1.0764
22.6027 | 0.92461 | 22.6027 | 1.028 | 22.6027 | 1.0984 | 22.6027 | 1.1623 | 22.6027 | 1.226
25.6804 | 1.0591 | 25.6804 | 1.1676 | 25.6804 | 1.2379 | 25.6804 | 1.3048 | 25.6804 | 1.3696
29.1771 | 1.1909 | 29.1771 | 1.3005 | 29.1771 | 1.3663 | 29.1771 | 1.4345 | 29.1771 | 1.4981
33.15 | 1.3134 | 33.15 | 1.4195 | 33.15 | 1.4765 | 33.15 | 1.5437 | 33.15 | 1.6041
37.6638 | 1.4219 | 37.6638 | 1.52 | 37.6638 | 1.5646 | 37.6638 | 1.6279 | 37.6638 | 1.684
42.7922 | 1.5156 | 42.7922 | 1.6017 | 42.7922 | 1.6317 | 42.7922 | 1.6881 | 42.7922 | 1.7396
48.6189 | 1.5993 | 48.6189 | 1.6706 | 48.6189 | 1.6859 | 48.6189 | 1.7316 | 48.6189 | 1.7798
55.239 | 1.6846 | 55.239 | 1.7398 | 55.239 | 1.7424 | 55.239 | 1.7739 | 55.239 | 1.8209
62.7605 | 1.7907 | 62.7605 | 1.8305 | 62.7605 | 1.8241 | 62.7605 | 1.8381 | 62.7605 | 1.8868
71.3062 | 1.9449 | 71.3062 | 1.9715 | 71.3062 | 1.9605 | 71.3062 | 1.9546 | 71.3062 | 2.0076
81.0155 | 2.1805 | 81.0155 | 2.1976 | 81.0155 | 2.1857 | 81.0155 | 2.159 | 81.0155 | 2.218
92.0468 | 2.5335 | 92.0468 | 2.5456 | 92.0468 | 2.5341 | 92.0468 | 2.4876 | 92.0468 | 2.5526
104.5802 | 3.0365 | 104.5802 | 3.0479 | 104.5802 | 3.0346 | 104.5802 | 2.9712 | 104.5802 | 3.0405
118.8201 | 3.7096 | 118.8201 | 3.7236 | 118.8201 | 3.7027 | 118.8201 | 3.627 | 118.8201 | 3.6968
134.999 | 4.5521 | 134.999 | 4.5697 | 134.999 | 4.5328 | 134.999 | 4.4499 | 134.999 | 4.5154
153.3809 | 5.534 | 153.3809 | 5.5526 | 153.3809 | 5.4908 | 153.3809 | 5.4054 | 153.3809 | 5.4612
174.2658 | 6.5904 | 174.2658 | 6.6035 | 174.2658 | 6.5102 | 174.2658 | 6.425 | 174.2658 | 6.4667
197.9943 | 7.6218 | 197.9943 | 7.6198 | 197.9943 | 7.493 | 197.9943 | 7.4091 | 197.9943 | 7.433
224.9538 | 8.5027 | 224.9538 | 8.4743 | 224.9538 | 8.3189 | 224.9538 | 8.236 | 224.9538 | 8.2397
255.5843 | 9.0982 | 255.5843 | 9.0338 | 255.5843 | 8.8613 | 255.5843 | 8.7792 | 255.5843 | 8.7611
290.3854 | 9.2892 | 290.3854 | 9.1837 | 290.3854 | 9.0111 | 290.3854 | 8.9314 | 290.3854 | 8.8894
329.9252 | 9.001 | 329.9252 | 8.8561 | 329.9252 | 8.7028 | 329.9252 | 8.6299 | 329.9252 | 8.5607
374.8488 | 8.2273 | 374.8488 | 8.052 | 374.8488 | 7.9374 | 374.8488 | 7.8779 | 374.8488 | 7.7762
425.8894 | 7.0407 | 425.8894 | 6.8494 | 425.8894 | 6.7894 | 425.8894 | 6.7499 | 425.8894 | 6.6104
483.8798 | 5.5824 | 483.8798 | 5.3908 | 483.8798 | 5.3949 | 483.8798 | 5.3801 | 483.8798 | 5.2005
549.7664 | 4.0361 | 549.7664 | 3.8573 | 549.7664 | 3.9256 | 549.7664 | 3.9365 | 549.7664 | 3.7209
624.6243 | 2.5956 | 624.6243 | 2.4391 | 624.6243 | 2.5568 | 624.6243 | 2.5893 | 624.6243 | 2.3544
709.6751 | 1.3827 | 709.6751 | 1.2561 | 709.6751 | 1.4009 | 709.6751 | 1.4472 | 709.6751 | 1.2155
806.3066 | 0.28398 | 806.3066 | 0.19484 | 806.3066 | 0.34455 | 806.3066 | 0.39712 | 806.3066 | 0.19332
916.0958 | 0.019481 | 916.0958 | 0.0099033 | 916.0958 | 0.022929 | 916.0958 | 0.028153 | 916.0958 | 0.010173
1040.8343 | 0.00026345 | 1040.8343 | 8.8387e-05 | 1040.8343 | 1.7597e-05 | 1040.8343 | 5.4523e-05 | 1040.8343 | 9.695e-05
1182.5575 | 0 | 1182.5575 | 0 | 1182.5575 | 0 | 1182.5575 | 0 | 1182.5575 | 0
1343.5782 | 0 | 1343.5782 | 0 | 1343.5782 | 0 | 1343.5782 | 0 | 1343.5782 | 0
1526.5239 | 0 | 1526.5239 | 0 | 1526.5239 | 0 | 1526.5239 | 0 | 1526.5239 | 0
1734.3802 | 0 | 1734.3802 | 0 | 1734.3802 | 0 | 1734.3802 | 0 | 1734.3802 | 0
1970.5388 | 0 | 1970.5388 | 0 | 1970.5388 | 0 | 1970.5388 | 0 | 1970.5388 | 0
2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0
2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0
2890.0611 | 1.4211e-14 | 2890.0611 | 0 | 2890.0611 | 7.0486e-12 | 2890.0611 | 2.4087e-11 | 2890.0611 | 0
3283.5808 | 1.4211e-14 | 3283.5808 | 0 | 3283.5808 | 7.0685e-11 | 3283.5808 | 2.4147e-10 | 3283.5808 | 0

## b-chitin
Frequency (compatible)
| [6] b-chitin-20.09.2026 16:27:43 |  | [7] b-chitin-20.09.2026 16:28:12 |  | [8] b-chitin-20.09.2026 16:28:35 |  | [9] b-chitin-20.09.2026 16:28:59 |  | [10] b-chitin-20.09.2026 16:29:37
Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%) | Size Classes (μm) | Volume Density (%)
0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0 | 0.010659 | 0
0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0 | 0.01211 | 0
0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0 | 0.013759 | 0
0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0 | 0.015633 | 0
0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0 | 0.017762 | 0
0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0 | 0.02018 | 0
0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0 | 0.022928 | 0
0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0 | 0.02605 | 0
0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0 | 0.029597 | 0
0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0 | 0.033627 | 0
0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0 | 0.038206 | 0
0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0 | 0.043408 | 0
0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0 | 0.049318 | 0
0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0 | 0.056034 | 0
0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0 | 0.063663 | 0
0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0 | 0.072332 | 0
0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0 | 0.082181 | 0
0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0 | 0.093371 | 0
0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0 | 0.10608 | 0
0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0 | 0.12053 | 0
0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0 | 0.13694 | 0
0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0 | 0.15559 | 0
0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0 | 0.17677 | 0
0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0 | 0.20084 | 0
0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0 | 0.22819 | 0
0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0 | 0.25926 | 0
0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0 | 0.29456 | 0
0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0 | 0.33467 | 0
0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0 | 0.38024 | 0
0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0 | 0.43202 | 0
0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0 | 0.49084 | 0
0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0 | 0.55768 | 0
0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0 | 0.63361 | 0
0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0 | 0.71988 | 0
0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0 | 0.81791 | 0
0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0 | 0.92927 | 0
1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0 | 1.0558 | 0
1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0 | 1.1996 | 0
1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0 | 1.3629 | 0
1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0 | 1.5485 | 0
1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0 | 1.7593 | 0
1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0 | 1.9989 | 0
2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0 | 2.2711 | 0
2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0 | 2.5803 | 0
2.9316 | 0.00010393 | 2.9316 | 9.4831e-05 | 2.9316 | 9.4177e-05 | 2.9316 | 8.9793e-05 | 2.9316 | 0
3.3308 | 0.0079165 | 3.3308 | 0.0072326 | 3.3308 | 0.007182 | 3.3308 | 0.0068626 | 3.3308 | 0.00011098
3.7844 | 0.077414 | 3.7844 | 0.070778 | 3.7844 | 0.07028 | 3.7844 | 0.067233 | 3.7844 | 0.008308
4.2996 | 0.1008 | 4.2996 | 0.092615 | 4.2996 | 0.091949 | 4.2996 | 0.088587 | 4.2996 | 0.080998
4.8851 | 0.11887 | 4.8851 | 0.11015 | 4.8851 | 0.10944 | 4.8851 | 0.10617 | 4.8851 | 0.10567
5.5503 | 0.14294 | 5.5503 | 0.13408 | 5.5503 | 0.13349 | 5.5503 | 0.13022 | 5.5503 | 0.13038
6.306 | 0.17501 | 6.306 | 0.16626 | 6.306 | 0.16606 | 6.306 | 0.16253 | 6.306 | 0.16355
7.1647 | 0.21243 | 7.1647 | 0.20394 | 7.1647 | 0.20448 | 7.1647 | 0.20034 | 7.1647 | 0.2026
8.1402 | 0.25202 | 8.1402 | 0.24385 | 8.1402 | 0.24552 | 8.1402 | 0.24044 | 8.1402 | 0.24414
9.2486 | 0.29441 | 9.2486 | 0.28653 | 9.2486 | 0.28965 | 9.2486 | 0.28349 | 9.2486 | 0.28871
10.5079 | 0.34405 | 10.5079 | 0.33628 | 10.5079 | 0.34099 | 10.5079 | 0.3338 | 10.5079 | 0.34047
11.9387 | 0.40581 | 11.9387 | 0.39773 | 11.9387 | 0.40395 | 11.9387 | 0.39596 | 11.9387 | 0.40378
13.5643 | 0.48343 | 13.5643 | 0.47436 | 13.5643 | 0.48173 | 13.5643 | 0.47321 | 13.5643 | 0.48164
15.4113 | 0.57951 | 15.4113 | 0.56848 | 15.4113 | 0.57645 | 15.4113 | 0.5675 | 15.4113 | 0.57578
17.5097 | 0.69489 | 17.5097 | 0.68078 | 17.5097 | 0.68867 | 17.5097 | 0.67894 | 17.5097 | 0.68615
19.8939 | 0.82869 | 19.8939 | 0.81033 | 19.8939 | 0.81755 | 19.8939 | 0.80591 | 19.8939 | 0.81119
22.6027 | 0.97901 | 22.6027 | 0.9554 | 22.6027 | 0.96171 | 22.6027 | 0.94598 | 22.6027 | 0.94873
25.6804 | 1.1443 | 25.6804 | 1.1147 | 25.6804 | 1.1205 | 25.6804 | 1.0974 | 25.6804 | 1.0975
29.1771 | 1.3251 | 29.1771 | 1.2891 | 29.1771 | 1.2956 | 29.1771 | 1.2607 | 29.1771 | 1.2589
33.15 | 1.5253 | 33.15 | 1.4825 | 33.15 | 1.4919 | 33.15 | 1.4403 | 33.15 | 1.4382
37.6638 | 1.7526 | 37.6638 | 1.7029 | 37.6638 | 1.7179 | 37.6638 | 1.6455 | 37.6638 | 1.645
42.7922 | 2.0181 | 42.7922 | 1.961 | 42.7922 | 1.985 | 42.7922 | 1.8888 | 42.7922 | 1.8927
48.6189 | 2.3337 | 48.6189 | 2.2688 | 48.6189 | 2.3047 | 48.6189 | 2.1844 | 48.6189 | 2.1951
55.239 | 2.7081 | 55.239 | 2.6353 | 55.239 | 2.6851 | 55.239 | 2.5431 | 55.239 | 2.5629
62.7605 | 3.142 | 62.7605 | 3.0625 | 62.7605 | 3.1267 | 62.7605 | 2.968 | 62.7605 | 2.9985
71.3062 | 3.6248 | 71.3062 | 3.5414 | 71.3062 | 3.6191 | 71.3062 | 3.4502 | 71.3062 | 3.4925
81.0155 | 4.1327 | 81.0155 | 4.0504 | 81.0155 | 4.1392 | 81.0155 | 3.9669 | 81.0155 | 4.0215
92.0468 | 4.6314 | 92.0468 | 4.5568 | 92.0468 | 4.6536 | 92.0468 | 4.4844 | 92.0468 | 4.5504
104.5802 | 5.082 | 104.5802 | 5.0218 | 104.5802 | 5.1235 | 104.5802 | 4.9635 | 104.5802 | 5.0381
118.8201 | 5.4508 | 118.8201 | 5.4095 | 118.8201 | 5.5134 | 118.8201 | 5.3687 | 118.8201 | 5.4468
134.999 | 5.7178 | 134.999 | 5.6961 | 134.999 | 5.799 | 134.999 | 5.6762 | 134.999 | 5.7508
153.3809 | 5.8826 | 153.3809 | 5.8765 | 153.3809 | 5.9734 | 153.3809 | 5.8799 | 153.3809 | 5.9441
174.2658 | 5.9618 | 174.2658 | 5.9649 | 174.2658 | 6.0475 | 174.2658 | 5.9909 | 174.2658 | 6.0398
197.9943 | 5.9807 | 197.9943 | 5.9877 | 197.9943 | 6.0437 | 197.9943 | 6.0301 | 197.9943 | 6.0637
224.9538 | 5.9604 | 224.9538 | 5.972 | 224.9538 | 5.9856 | 224.9538 | 6.0172 | 224.9538 | 6.042
255.5843 | 5.9079 | 255.5843 | 5.9324 | 255.5843 | 5.8873 | 255.5843 | 5.9605 | 255.5843 | 5.9891
290.3854 | 5.8125 | 290.3854 | 5.8645 | 290.3854 | 5.7474 | 290.3854 | 5.8522 | 290.3854 | 5.9015
329.9252 | 5.6522 | 329.9252 | 5.7464 | 329.9252 | 5.5527 | 329.9252 | 5.6742 | 329.9252 | 5.76
374.8488 | 5.4031 | 374.8488 | 5.5467 | 374.8488 | 5.2856 | 374.8488 | 5.4078 | 374.8488 | 5.5379
425.8894 | 5.0456 | 425.8894 | 5.2325 | 425.8894 | 4.9295 | 425.8894 | 5.0403 | 425.8894 | 5.2079
483.8798 | 4.5686 | 483.8798 | 4.7791 | 483.8798 | 4.4732 | 483.8798 | 4.5673 | 483.8798 | 4.7491
549.7664 | 3.9748 | 549.7664 | 4.1801 | 549.7664 | 3.9161 | 549.7664 | 3.9967 | 549.7664 | 4.156
624.6243 | 3.2858 | 624.6243 | 3.4559 | 624.6243 | 3.2739 | 624.6243 | 3.3503 | 624.6243 | 3.4467
709.6751 | 2.5436 | 709.6751 | 2.6555 | 709.6751 | 2.5806 | 709.6751 | 2.665 | 709.6751 | 2.6669
806.3066 | 1.8079 | 806.3066 | 1.8524 | 806.3066 | 1.8868 | 806.3066 | 1.99 | 806.3066 | 1.8862
916.0958 | 1.1476 | 916.0958 | 1.1171 | 916.0958 | 1.2523 | 916.0958 | 1.3785 | 916.0958 | 1.1714
1040.8343 | 0.60429 | 1040.8343 | 0.41834 | 1040.8343 | 0.71371 | 1040.8343 | 0.87357 | 1040.8343 | 0.48396
1182.5575 | 0.11494 | 1182.5575 | 0.033897 | 1182.5575 | 0.21549 | 1182.5575 | 0.497 | 1182.5575 | 0.040466
1343.5782 | 0.0074033 | 1343.5782 | 0.00014459 | 1343.5782 | 0.018632 | 1343.5782 | 0.24566 | 1343.5782 | 0.00019247
1526.5239 | 9.5317e-05 | 1526.5239 | 0 | 1526.5239 | 0.00030782 | 1526.5239 | 0.096148 | 1526.5239 | 0
1734.3802 | 0 | 1734.3802 | 0 | 1734.3802 | 0 | 1734.3802 | 0.0092558 | 1734.3802 | 0
1970.5388 | 0 | 1970.5388 | 0 | 1970.5388 | 0 | 1970.5388 | 0.00016439 | 1970.5388 | 0
2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0 | 2238.8534 | 0
2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0 | 2543.7027 | 0
2890.0611 | 7.7174e-09 | 2890.0611 | 8.9665e-10 | 2890.0611 | 2.4967e-08 | 2890.0611 | 1.8302e-07 | 2890.0611 | 1.197e-09
3283.5808 | 7.7375e-08 | 3283.5808 | 8.9899e-09 | 3283.5808 | 2.5032e-07 | 3283.5808 | 1.8349e-06 | 3283.5808 | 1.2002e-08