## Sample
sample name: | 82 uM ScCBM2 + 0.5 mM Gd
Description/Title: | 50 mM Na phos pH 8.0 10% D2O
Origin: | in-house
Date of preparation: | 23 Apr 2024
Solvent: | D2O
pH: | 7.0
Sample tube: | normal
Tube diameter (mm): | 3
Concentration (mM): | 10.00
Temperature (K): | 308.0
Weight (Daltons): | 8900
Correlation time (ns): | 4.00
Labelling: | 15N
Sequence format: | FASTA file
Sequence file: | ???
PDB file: | ???

## Parameter
Proton frequency[MHz]: | 800.03
X nucleus frequency[MHz]: | 81.0663

## integrals
Mixing time [s]: | 0.25 | 1 | 2 | 4 | 6
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 4304.9062 | 10511.3594 | 16259.4141 | 19555.7578 | 21162.4688
H/N S4 | 12323.125 | 20014.2266 | 18526.3672 | 21776.1484 | 19550.5703
H/N M6 | 2854.6719 | 11731.9844 | 17636.8438 | 21128.5156 | 23975.9219
H/N A7 | 6398.4219 | 18845.5547 | 27207.5312 | 35098.2188 | 35727.5156
H/N V8 | 4328.6406 | 19125.8516 | 25994.0469 | 30606.9688 | 33829.5469
H/N Y9 | 4555.5625 | 14513.9375 | 23140.5312 | 29290.6484 | 27237.5859
H/N V11 | 10443.8906 | 26881.6172 | 38936.4688 | 47173.6953 | 45735.5703
H/N E12 | 5536.6562 | 19440.6719 | 26529.9062 | 28191.4922 | 29766.2109
H/N N13 | 7246.8594 | 31494.6484 | 44911.7344 | 51991.5859 | 53924.7031
H/N S14 | 14346.9844 | 21012.5 | 24521.2266 | 25195.9453 | 24849.4375
H/N W15 | 7326.8281 | 27638.0469 | 41757.4297 | 46578.4297 | 46721.1641
H/N G17 | 9606.2812 | 16413.8984 | 20765.3438 | 22627.0469 | 20558.8047
H/N G18 | 11585.6875 | 41628.3516 | 62259.5781 | 66516.7969 | 65433.8281
H/N F19 | 5614.0781 | 21814.7109 | 37648.2891 | 44535.5625 | 48006.8047
H/N Q20 | 2217.6562 | 15817.4531 | 25134.2578 | 28489.9531 | 29671.8359
H/N G21 | 4439.875 | 19640.5234 | 28208.6562 | 36199.7891 | 36269.3594
H/N S22 | 4884.3906 | 21135.1953 | 34518.9766 | 46143.9062 | 47634.4297
H/N V23 | 5923.5469 | 19691.9453 | 33255.0312 | 39768.8594 | 41405.9297
H/N E24 | 2709.7656 | 17507.5859 | 29363.7656 | 36123.3203 | 37339.4844
H/N V25 | 3438.8906 | 17768.4141 | 27419.5 | 30206.5938 | 31392.6875
H/N M26 | 3795.7031 | 17751.9062 | 30112.875 | 31566.7969 | 32747.6875
H/N N27 | 3522.9062 | 13374.8906 | 24722.6641 | 24962.9062 | 27148.3281
H/N H28 | 5409.7656 | 20257.5312 | 32301.6172 | 38594.5938 | 41193.0859
H/N G29 | 10408.2344 | 31076.4688 | 43568.7344 | 47508.9688 | 46723.1875
H/N T30 | 6661.9062 | 12125.9375 | 14091.0859 | 13457.75 | 10838.0469
H/N E31 | 11309.9219 | 35659.7812 | 49925.9688 | 50514.9297 | 51134.4141
H/N L33 | 3300.5781 | 14293.6484 | 23550.8984 | 29472.4062 | 30023.0234
H/N N34 | 7913.7188 | 17557.4297 | 20637.2969 | 21073.7578 | 22205.5781
H/N G35 | 3294.5312 | 15622.3438 | 25692.3516 | 29525.0625 | 32317.8984
H/N W36 | 6798.4844 | 20414.7344 | 31289.7891 | 39669.3828 | 40924.6328
H/N V38 | 2087.6562 | 9325.0859 | 18185.5391 | 21671.9062 | 20079.625
H/N Q39 | 5683.7031 | 18604.4609 | 29971.3359 | 34665.6328 | 34216.7891
H/N W40 | 5195.4688 | 22831.3906 | 34779.7266 | 38932.4062 | 45130.3359
H/N Q41 | 3443.1875 | 15540.0156 | 18495.8828 | 24064.1953 | 25139.6797
H/N G43 | 7872.6719 | 18074.4453 | 26499.5078 | 28673.7578 | 28907.7656
H/N G44 | 6761.6406 | 10353.0156 | 12330.0938 | 10667.8516 | 10742.8203
H/N T46 | 10861.2344 | 36957.3047 | 47363.7578 | 52199.7266 | 52464.5469
H/N T47 | 6866.9375 | 27706.8438 | 37064.7422 | 39785.1641 | 41050.4062
H/N L48 | 11928.0312 | 25750.4609 | 28304.0234 | 35110.5625 | 30855.8594
H/N G49 | 7589.3281 | 24611.2109 | 31471.7188 | 29336.6094 | 32764.8438
H/N G50 | 17075.6094 | 25071.6875 | 29422.8516 | 26134.5391 | 31249.6953
H/N V51 | 9950.7656 | 26841.2656 | 35447.6641 | 39102.4453 | 41710.7344
H/N W52 | 4109.6406 | 19788.0781 | 30796.2734 | 33791.9766 | 34442.4062
H/N N53 | 4283.5156 | 9159.8672 | 8708.4766 | 9835.2344 | 8975.4609
H/N S55 | 4664.7812 | 15961.4062 | 28530.2266 | 30537.5156 | 30477.9453
H/N L56 | 8642.2031 | 13501.0625 | 14867.4844 | 15381.0078 | 16399.5625
H/N T57 | 5597.3594 | 20655.3828 | 31817.2031 | 35605.7266 | 32900.8203
H/N S58 | 7576.0469 | 10908.4219 | 12249.7266 | 15533.7031 | 13130.4062
H/N G59 | 11841.375 | 24326.8672 | 25278.1016 | 26373.0703 | 25602.6328
H/N G62 | 13123.2656 | 19937.9609 | 23350.0547 | 23003.8359 | 25018.4062
H/N T63 | 17439.7344 | 42112.8281 | 55226.2891 | 56524.8906 | 57749.0859
H/N V64 | 3841.5781 | 18598.5547 | 26919.6328 | 29960.6953 | 30429.375
H/N T65 | 6441.9062 | 22571.1797 | 36142.5156 | 36220.5547 | 38151.1797
H/N V66 | 3513.1562 | 13724.2109 | 20213.125 | 25629.1172 | 24344.3203
H/N R67 | 3376.2344 | 16593.5625 | 26929.7734 | 29219.6797 | 31084.1484
H/N N68 | 1799.0469 | 23091.875 | 35955.7734 | 50723.5234 | 48804.6719
H/N V69 | 2620.5 | 14364.75 | 23419.1172 | 31448.9219 | 32341.4688
H/N D70 | 8265 | 17490.3359 | 18132.5781 | 21401.6172 | 21586.6172
H/N H71 | 3988.8438 | 9978.6406 | 13835.1797 | 15939.6172 | 18511.2109
H/N N72 | 4021.625 | 25352.3594 | 38208.1797 | 48133.0703 | 48052.2109
H/N R73 | 6257.0781 | 29422.8359 | 38737.3125 | 45076.7422 | 47809.8906
H/N V74 | 3842.7344 | 22761.6328 | 33010.1172 | 41009.9766 | 42387.0703
H/N V75 | 18862 | 31832.5 | 32279.6797 | 31379.3359 | 34975.7891
H/N D78 | 3088.9688 | 17686.4062 | 27405.6328 | 33601.4766 | 37672.6797
H/N G79 | 3582.8281 | 18987.7734 | 31945.0078 | 39169.9297 | 42255.1953
H/N S80 | 9956.4062 | 36879.875 | 51993.7344 | 64394.6719 | 67973.6172
H/N V81 | 5765.6719 | 20989.2734 | 36185.6875 | 39637.3828 | 38045.7109
H/N T82 | 8094.1719 | 18161.7031 | 24982.6094 | 31776.8516 | 32089.4062
H/N F83 | 3312.8906 | 23721.8516 | 39178.0391 | 48386.7734 | 49960.0312
H/N G84 | 3645.8906 | 12653.1328 | 15724.1016 | 19934.1172 | 21377.8125
H/N F85 | 4832.5156 | 20118.4609 | 38087.2031 | 45379.5859 | 43937.7812
H/N T86 | 4814.5938 | 15960.0156 | 25253.7891 | 29917.1172 | 32860
H/N A87 | 3840.5781 | 16867.2578 | 26548.6484 | 32617.8047 | 36016.5
H/N T88 | 6119.6875 | 26833.9141 | 39549.3203 | 45470.0859 | 45020.1797
H/N S89 | 7945 | 30791.2188 | 44137.7188 | 49696.6562 | 52292.6875
H/N T90 | 6548.125 | 14820.5391 | 19044.4844 | 19897.7031 | 19893.7188
H/N G91 | 14021.4062 | 33069.7109 | 41584.4219 | 42214.9922 | 40768.9766
H/N N92 | 9303.5938 | 17801.3594 | 18632.5703 | 19919.5469 | 16841.5
H/N D93 | 2369.9531 | 5897.4297 | 10120.8594 | 9737.1016 | 10443.7266
H/N F94 | 5457.375 | 16094.7656 | 22792.5938 | 27488.0938 | 29879.2656
H/N V96 | 2808.125 | 12806.4453 | 22169.375 | 26925.125 | 25481.7031
H/N D97 | 10711.7344 | 25951.4531 | 35757.2734 | 38539.5781 | 38769.875
H/N S98 | 8330.7969 | 16527.9219 | 19755.3047 | 18519.3672 | 19220.7969
H/N I99 | 13331.2031 | 27350.3281 | 31150.7422 | 34966.3984 | 33873.5781
H/N G100 | 2559.25 | 5895.2578 | 6645.3906 | 8355.5625 | 8276.2578
H/N C101 | 8550.9844 | 15273.9375 | 20882.5391 | 20354.1953 | 19688.75
H/N V102 | 2040.1406 | 14033.1797 | 19057.5391 | 23797.2422 | 24014.2578
H/N A103 | 11403.3906 | 23851.4297 | 27934.1797 | 29308.5547 | 29867.9688
HE1/NE1 W40 | 6668.4531 | 28161.1172 | 35858.9453 | 40700.9531 | 41130.1562
HE1/NE1 W52 | 8960.875 | 12519.0703 | 14208.7344 | 15250.8906 | 13650.3125
HE1/NE1 W15 | 10175.9688 | 19448.3359 | 23523.2266 | 25433.5078 | 26452.8984
HE1/NE1 W36 | 2647.0781 | 19725.1484 | 34176.9062 | 39409.2578 | 43169.2188

## integral errors
Mixing time [s]: | 0.25 | 1 | 2 | 4 | 6
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S4 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N M6 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N A7 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V8 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N Y9 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V11 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N E12 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N13 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S14 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N W15 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G17 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G18 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N F19 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N Q20 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G21 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S22 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V23 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N E24 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V25 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N M26 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N27 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N H28 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G29 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T30 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N E31 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N L33 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N34 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G35 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N W36 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V38 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N Q39 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N W40 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N Q41 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G43 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G44 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T46 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T47 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N L48 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G49 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G50 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V51 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N W52 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N53 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S55 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N L56 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T57 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S58 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G59 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G62 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T63 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V64 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T65 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V66 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N R67 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N68 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V69 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N D70 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N H71 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N72 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N R73 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V74 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V75 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N D78 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G79 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S80 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V81 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T82 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N F83 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G84 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N F85 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T86 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N A87 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T88 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S89 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N T90 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G91 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N N92 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N D93 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N F94 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V96 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N D97 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N S98 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N I99 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N G100 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N C101 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N V102 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
H/N A103 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
HE1/NE1 W40 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
HE1/NE1 W52 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
HE1/NE1 W15 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35
HE1/NE1 W36 | 1318.8247 | 658.3154 | 686.958 | 719.9932 | 733.35

## back calculation from fit
Mixing time [s]: | 0.25 | 1 | 2 | 4 | 6
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 3486.8104 | 10858.0248 | 16134.3392 | 19944.2153 | 20843.859
H/N S4 | 12393.0738 | 19634.9925 | 20054.4599 | 20063.6125 | 20063.6167
H/N M6 | 3563.508 | 11368.4094 | 17323.488 | 22076.9598 | 23381.2869
H/N A7 | 5989.0642 | 18682.5742 | 27810.6997 | 34449.6848 | 36034.5468
H/N V8 | 5852.2724 | 17924.2255 | 26190.2549 | 31760.2243 | 32944.8083
H/N Y9 | 4967.7205 | 15334.7694 | 22584.1876 | 27631.4546 | 28759.452
H/N V11 | 9345.7053 | 27649.4451 | 39056.4574 | 45704.0413 | 46835.4899
H/N E12 | 6773.2216 | 19109.8533 | 25843.3145 | 29051.875 | 29450.2318
H/N N13 | 10194.9594 | 30686.4278 | 44073.0288 | 52460.3034 | 54056.4355
H/N S14 | 13561.2761 | 23346.1963 | 24230.148 | 24264.8841 | 24264.9339
H/N W15 | 9522.9794 | 28165.0054 | 39772.7425 | 46528.2966 | 47675.7536
H/N G17 | 8062.3433 | 18072.5001 | 20737.1984 | 21188.0252 | 21197.8262
H/N G18 | 14905.3801 | 42654.5287 | 58419.7729 | 66400.2889 | 67490.4787
H/N F19 | 7216.1112 | 23111.3623 | 35364.298 | 45304.4782 | 48098.4593
H/N Q20 | 5136.0676 | 15903.106 | 23494.1511 | 28847.1727 | 30066.8312
H/N G21 | 6084.8144 | 19034.1442 | 28415.2828 | 35317.6232 | 36994.2669
H/N S22 | 6585.508 | 21611.8971 | 33951.6687 | 45020.1895 | 48628.6176
H/N V23 | 6635.6678 | 20962.2916 | 31614.5529 | 39778.3678 | 41886.5069
H/N E24 | 5612.7063 | 18058.9107 | 27769.0559 | 35797.4643 | 38118.5854
H/N V25 | 5925.0514 | 17882.4333 | 25751.4568 | 30737.893 | 31703.4518
H/N M26 | 6270.1893 | 18885.5326 | 27141.6967 | 32328.9225 | 33320.2868
H/N N27 | 4912.9852 | 14969.6024 | 21760.2334 | 26238.0188 | 27159.4503
H/N H28 | 6554.813 | 20679.9742 | 31146.4922 | 39124.8519 | 41168.5563
H/N G29 | 11280.2421 | 31515.2472 | 42255.2197 | 47162.5498 | 47732.465
H/N T30 | 6714.2184 | 12140.085 | 12758.7282 | 12791.86 | 12791.946
H/N E31 | 13315.9783 | 36063.5375 | 47098.0738 | 51507.4247 | 51920.2309
H/N L33 | 4639.5986 | 14833.5044 | 22655.6725 | 28955.7184 | 30707.6232
H/N N34 | 7606.2975 | 17757.2148 | 20858.5429 | 21494.7957 | 21514.2034
H/N G35 | 5055.4711 | 15995.9232 | 24164.7825 | 30466.9087 | 32110.4905
H/N W36 | 6572.4388 | 20734.5352 | 31227.0232 | 39223.5047 | 41271.2093
H/N V38 | 3463.8835 | 10900.9758 | 16375.411 | 20505.3164 | 21546.8853
H/N Q39 | 6494.8007 | 19681.0883 | 28454.0552 | 34107.8357 | 35231.2338
H/N W40 | 7139.4807 | 22356.6529 | 33411.346 | 41580.4379 | 43577.7852
H/N Q41 | 4539.2229 | 13783.8699 | 19969.2405 | 23990.3942 | 24800.1234
H/N G43 | 6854.2515 | 19166.3004 | 25717.2649 | 28721.6714 | 29072.6597
H/N G44 | 6655.9756 | 10827.9441 | 11108.5558 | 11116.0164 | 11116.0214
H/N T46 | 12990.3584 | 35744.1604 | 47303.0758 | 52249.7506 | 52767.0444
H/N T47 | 9510.6158 | 26774.0712 | 36137.8496 | 40557.9867 | 41098.6279
H/N L48 | 10828.7256 | 25849.3695 | 30787.1798 | 31910.5911 | 31951.584
H/N G49 | 9388.503 | 23967.3732 | 29891.7023 | 31718.0696 | 31829.6597
H/N G50 | 16409.0702 | 27427.8539 | 28284.8206 | 28312.4326 | 28312.4596
H/N V51 | 9524.4881 | 26678.5305 | 35850.4707 | 40087.8125 | 40588.6446
H/N W52 | 6723.1561 | 20139.6494 | 28790.6769 | 34102.9875 | 35083.1883
H/N N53 | 4518.1339 | 8655.1339 | 9262.0129 | 9307.5497 | 9307.7736
H/N S55 | 5913.6771 | 17826.3215 | 25639.9582 | 30566.0247 | 31512.4432
H/N L56 | 8203.9291 | 14587.2677 | 15260.9103 | 15293.4559 | 15293.5253
H/N T57 | 7395.1879 | 21478.0436 | 29817.0251 | 34311.727 | 34989.271
H/N S58 | 6736.0145 | 12507.5201 | 13248.4537 | 13294.946 | 13295.1092
H/N G59 | 12099.1304 | 23826.2934 | 25752.9336 | 25921.3231 | 25922.4241
H/N G62 | 12205.3192 | 22094.5978 | 23228.1991 | 23289.3445 | 23289.5054
H/N T63 | 16831.6651 | 43133.2147 | 53947.13 | 57337.9958 | 57551.1299
H/N V64 | 6193.0117 | 18293.9889 | 25803.5684 | 30151.6148 | 30884.2851
H/N T65 | 8240.4504 | 23805.4659 | 32885.8196 | 37670.5871 | 38366.7534
H/N V66 | 4472.9623 | 13731.4468 | 20110.5475 | 24450.7522 | 25387.4436
H/N R67 | 5601.4894 | 17100.7566 | 24906.4472 | 30095.6878 | 31176.8624
H/N N68 | 6944.2758 | 22793.4734 | 35815.1201 | 47504.116 | 51319.0585
H/N V69 | 4426.3141 | 14569.8317 | 22964.6812 | 30588.581 | 33119.5914
H/N D70 | 7689.5273 | 17442.8853 | 20147.5842 | 20632.0066 | 20643.6539
H/N H71 | 3232.2253 | 9791.427 | 14151.5517 | 16957.6954 | 17514.1321
H/N N72 | 7890.425 | 24871.5464 | 37424.6962 | 46958.3226 | 49386.9337
H/N R73 | 9239.8451 | 27499.0994 | 39065.3465 | 45976.327 | 47198.9362
H/N V74 | 6945.8754 | 21807.6218 | 32679.5304 | 40801.6761 | 42820.348
H/N V75 | 18858.1861 | 31807.7265 | 32863.0625 | 32899.2388 | 32899.2786
H/N D78 | 5281.5432 | 17139.1632 | 26598.017 | 34699.1741 | 37166.6042
H/N G79 | 6004.9337 | 19507.0972 | 30307.1689 | 39597.1183 | 42444.7337
H/N S80 | 11448.6184 | 35530.3004 | 52612.5723 | 64773.9573 | 67585.0589
H/N V81 | 7696.0362 | 23021.6061 | 32865.8125 | 38875.2603 | 39974.0757
H/N T82 | 6081.5632 | 18272.0025 | 26196.4345 | 31123.7025 | 32050.4687
H/N F83 | 7521.9385 | 24193.1905 | 37187.416 | 47915.2121 | 51009.9582
H/N G84 | 3818.9591 | 11593.892 | 16792.5004 | 20168.723 | 20847.5307
H/N F85 | 7250.4634 | 22957.7592 | 34708.3608 | 43801.1121 | 46183.1931
H/N T86 | 5141.7272 | 16238.1423 | 24482.298 | 30792.9156 | 32419.556
H/N A87 | 5180.5599 | 16724.0401 | 25808.3491 | 33423.2036 | 35669.9963
H/N T88 | 8972.0003 | 26765.9138 | 38111.4203 | 44959.0261 | 46189.3583
H/N S89 | 10193.5224 | 30330.4993 | 43078.2614 | 50687.9512 | 52032.1879
H/N T90 | 6074.0242 | 15271.7159 | 18837.6888 | 19864.7776 | 19920.7777
H/N G91 | 13968.0601 | 33636.8566 | 40288.9952 | 41864.7122 | 41926.339
H/N N92 | 9460.6622 | 17485.9387 | 18495.5826 | 18557.2459 | 18557.4514
H/N D93 | 2317.5896 | 6616.4538 | 9042.4855 | 10258.1961 | 10421.6414
H/N F94 | 5129.082 | 15764.0643 | 23114.5843 | 28140.16 | 29232.8213
H/N V96 | 4438.0601 | 13876.5485 | 20706.0028 | 25721.4003 | 26936.2274
H/N D97 | 9860.0283 | 26825.629 | 35165.5876 | 38564.546 | 38893.075
H/N S98 | 8100.4724 | 17015.2515 | 18895.0225 | 19125.6338 | 19128.4484
H/N I99 | 12136.6868 | 28016.1524 | 32688.4052 | 33597.5424 | 33622.8275
H/N G100 | 2148.5308 | 5740.4245 | 7414.6139 | 8045.2947 | 8098.9399
H/N C101 | 7331.0282 | 16867.1483 | 19642.0266 | 20173.6338 | 20188.0217
H/N V102 | 4228.8653 | 13041.3661 | 19187.7692 | 23449.8376 | 24396.5462
H/N A103 | 10627.0095 | 24439.8189 | 28453.2339 | 29220.5315 | 29241.2232
HE1/NE1 W40 | 9354.0569 | 26543.0791 | 36078.6978 | 40735.052 | 41336.0059
HE1/NE1 W52 | 8702.9403 | 13736.6231 | 14021.8376 | 14027.8825 | 14027.8851
HE1/NE1 W15 | 8565.5956 | 20488.4497 | 24433.7819 | 25339.8059 | 25373.4019
HE1/NE1 W36 | 6358.161 | 20457.5675 | 31457.704 | 40552.9654 | 43182.6481

## Details
Fitted function: | f(t) = Io * [1-exp(-t/T1)]
Random error estimation of data: | RMS per spectrum (or trace/plane)
Systematic error estimation of data: | worst case per peak scenario
Fit parameter Error estimation method: | from fit using arbitrary y uncertainties
Confidence level: | 95%
Used peaks: | peaks from C:\Users\susanntr\OneDrive - NTNU\NMR_data\CBM2_sht\66\pdata\1\peaklist.xml
Used integrals: | peak intensities
Used Mixing time: | all values (including replicates) used

## Results
Peak name | F1 [ppm] | F2 [ppm] | Io | error | T1 [s] | error | errorScale | R1 [rad/s] | R1 sd [rad/s] | fitInfo
H/N T2 | 127.434 | 7.788 | 21121.967 | 1739.0133 | 1.3857 | 0.3501 | 3.1824 | 0.72168 | 0.057295 | Done
H/N S4 | 115.5632 | 8.2399 | 20063.6167 | 2289.9007 | 0.26 | 0.16409 | 3.1824 | 3.8461 | 0.76269 | Done
H/N M6 | 124.5269 | 8.6683 | 23874.5306 | 2606.084 | 1.5466 | 0.49282 | 3.1824 | 0.64659 | 0.064743 | Done
H/N A7 | 125.6171 | 8.7153 | 36531.5248 | 1761.6183 | 1.3962 | 0.20591 | 3.1824 | 0.71623 | 0.033192 | Done
H/N V8 | 120.6507 | 8.7211 | 33264.7892 | 3912.3778 | 1.292 | 0.48098 | 3.1824 | 0.774 | 0.090542 | Done
H/N Y9 | 133.6117 | 9.0967 | 29084.0987 | 4104.1165 | 1.3348 | 0.5877 | 3.1824 | 0.7492 | 0.10365 | Done
H/N V11 | 122.5888 | 8.4336 | 47067.5682 | 3369.6157 | 1.1295 | 0.27135 | 3.1824 | 0.88538 | 0.066838 | Done
H/N E12 | 128.2819 | 8.6096 | 29506.7004 | 2344.304 | 0.95867 | 0.27445 | 3.1824 | 1.0431 | 0.093836 | Done
H/N N13 | 113.504 | 7.5885 | 54431.5768 | 4932.401 | 1.2054 | 0.35637 | 3.1824 | 0.82957 | 0.077063 | Done
H/N S14 | 117.0168 | 8.504 | 24264.9339 | 2669.0786 | 0.30546 | 0.18109 | 3.1824 | 3.2738 | 0.60987 | Done
H/N W15 | 122.4677 | 8.193 | 47910.5316 | 4668.0551 | 1.1281 | 0.36905 | 3.1824 | 0.88641 | 0.091116 | Done
H/N G17 | 119.3183 | 8.9265 | 21198.044 | 3071.1378 | 0.52238 | 0.3544 | 3.1824 | 1.9143 | 0.40808 | Done
H/N G18 | 111.2025 | 7.3831 | 67662.9688 | 7771.4035 | 1.0047 | 0.40739 | 3.1824 | 0.99533 | 0.12682 | Done
H/N F19 | 112.6561 | 7.565 | 49190.8345 | 5965.3687 | 1.5759 | 0.55303 | 3.1824 | 0.63456 | 0.069973 | Done
H/N Q20 | 118.4703 | 8.5803 | 30426.7237 | 5631.3949 | 1.3522 | 0.77641 | 3.1824 | 0.73955 | 0.13343 | Done
H/N G21 | 114.473 | 8.058 | 37532.2112 | 3609.3624 | 1.4134 | 0.41343 | 3.1824 | 0.70753 | 0.065032 | Done
H/N S22 | 114.9575 | 8.3808 | 50374.0051 | 5064.237 | 1.7844 | 0.48903 | 3.1824 | 0.56042 | 0.048261 | Done
H/N V23 | 123.5578 | 8.1812 | 42620.4052 | 3993.9692 | 1.4772 | 0.41273 | 3.1824 | 0.67695 | 0.059432 | Done
H/N E24 | 127.0706 | 8.1226 | 39062.5721 | 6645.2674 | 1.6117 | 0.78508 | 3.1824 | 0.62047 | 0.094971 | Done
H/N V25 | 129.251 | 9.0967 | 31935.3176 | 4734.8568 | 1.2182 | 0.58657 | 3.1824 | 0.82088 | 0.1242 | Done
H/N M26 | 123.0733 | 8.9735 | 33554.5184 | 6378.3532 | 1.2086 | 0.74866 | 3.1824 | 0.82744 | 0.16106 | Done
H/N N27 | 117.5013 | 7.9465 | 27398.188 | 6117.1079 | 1.2651 | 0.90231 | 3.1824 | 0.79048 | 0.17716 | Done
H/N H28 | 123.9212 | 8.7211 | 41872.3423 | 3119.0174 | 1.4685 | 0.32701 | 3.1824 | 0.68098 | 0.047651 | Done
H/N G29 | 109.1433 | 8.2927 | 47807.349 | 2630.4303 | 0.92894 | 0.18673 | 3.1824 | 1.0765 | 0.067996 | Done
H/N T30 | 105.6305 | 8.0639 | 12791.9462 | 2460.4068 | 0.33594 | 0.34271 | 3.1824 | 2.9767 | 0.95422 | Done
H/N E31 | 120.4084 | 7.5885 | 51962.87 | 4811.5393 | 0.84441 | 0.29793 | 3.1824 | 1.1843 | 0.13129 | Done
H/N L33 | 122.8311 | 8.2927 | 31382.4417 | 3551.588 | 1.5627 | 0.51378 | 3.1824 | 0.63993 | 0.066112 | Done
H/N N34 | 123.4367 | 8.8326 | 21514.8141 | 1046.2044 | 0.57308 | 0.12578 | 3.1824 | 1.745 | 0.12034 | Done
H/N G35 | 113.0195 | 8.1578 | 32690.3628 | 4563.3694 | 1.4881 | 0.61727 | 3.1824 | 0.672 | 0.08759 | Done
H/N W36 | 112.2927 | 7.6531 | 41976.0758 | 1221.1435 | 1.4681 | 0.1277 | 3.1824 | 0.68114 | 0.018616 | Done
H/N V38 | 121.9831 | 9.5897 | 21898.1637 | 5860.347 | 1.4519 | 1.1676 | 3.1824 | 0.68876 | 0.17405 | Done
H/N Q39 | 124.648 | 8.5451 | 35509.8027 | 3653.3197 | 1.2376 | 0.41068 | 3.1824 | 0.80798 | 0.084246 | Done
H/N W40 | 123.9212 | 8.6566 | 44224.1821 | 6739.4154 | 1.4199 | 0.65681 | 3.1824 | 0.70427 | 0.10237 | Done
H/N Q41 | 120.7718 | 9.355 | 25004.2887 | 4031.2134 | 1.248 | 0.64658 | 3.1824 | 0.80131 | 0.13046 | Done
H/N G43 | 107.4474 | 8.9442 | 29119.0876 | 2283.8907 | 0.9315 | 0.26659 | 3.1824 | 1.0735 | 0.096545 | Done
H/N G44 | 108.4165 | 8.7211 | 11116.0215 | 1391.6547 | 0.27375 | 0.18791 | 3.1824 | 3.6529 | 0.78788 | Done
H/N T46 | 119.3183 | 7.9348 | 52827.4576 | 3261.4513 | 0.88579 | 0.20402 | 3.1824 | 1.1289 | 0.081704 | Done
H/N T47 | 123.0733 | 8.5392 | 41173.9709 | 4153.2935 | 0.95185 | 0.34706 | 3.1824 | 1.0506 | 0.12037 | Done
H/N L48 | 130.8257 | 9.2787 | 31953.1364 | 5033.5704 | 0.6041 | 0.42019 | 3.1824 | 1.6554 | 0.3618 | Done
H/N G49 | 111.5659 | 9.038 | 31836.9215 | 4356.1011 | 0.7155 | 0.40156 | 3.1824 | 1.3976 | 0.24647 | Done
H/N G50 | 110.1123 | 7.747 | 28312.4596 | 4431.9516 | 0.28852 | 0.2456 | 3.1824 | 3.4659 | 0.92705 | Done
H/N V51 | 120.1662 | 8.1226 | 40655.7748 | 2178.8052 | 0.93658 | 0.18272 | 3.1824 | 1.0677 | 0.065452 | Done
H/N W52 | 125.1325 | 8.7857 | 35304.9725 | 5154.1078 | 1.1834 | 0.56817 | 3.1824 | 0.84501 | 0.12748 | Done
H/N N53 | 114.5942 | 9.3373 | 9307.7747 | 1027.6095 | 0.37628 | 0.2153 | 3.1824 | 2.6576 | 0.47781 | Done
H/N S55 | 115.0787 | 8.6683 | 31737.5154 | 5869.6779 | 1.2124 | 0.72971 | 3.1824 | 0.82481 | 0.15599 | Done
H/N L56 | 131.5525 | 8.8737 | 15293.5254 | 1652.3818 | 0.32518 | 0.18742 | 3.1824 | 3.0752 | 0.55694 | Done
H/N T57 | 121.4986 | 9.1143 | 35109.5348 | 5337.8254 | 1.057 | 0.55497 | 3.1824 | 0.94609 | 0.15609 | Done
H/N S58 | 119.3183 | 8.5979 | 13295.1097 | 3084.971 | 0.35384 | 0.43117 | 3.1824 | 2.8262 | 1.0821 | Done
H/N G59 | 112.6561 | 8.5451 | 25922.4314 | 956.2143 | 0.39761 | 0.075003 | 3.1824 | 2.515 | 0.14907 | Done
H/N G62 | 107.3263 | 7.8057 | 23289.5059 | 2933.8031 | 0.33671 | 0.22487 | 3.1824 | 2.9699 | 0.62326 | Done
H/N T63 | 111.3236 | 7.5357 | 57565.425 | 2374.7813 | 0.72283 | 0.12176 | 3.1824 | 1.3835 | 0.073227 | Done
H/N V64 | 117.3802 | 8.551 | 31032.7637 | 3935.8089 | 1.1231 | 0.47917 | 3.1824 | 0.89039 | 0.11937 | Done
H/N T65 | 116.29 | 8.1754 | 38485.2897 | 5926.6398 | 1.0376 | 0.55626 | 3.1824 | 0.9638 | 0.16237 | Done
H/N V66 | 127.3129 | 9.4782 | 25645.2333 | 2988.9176 | 1.3044 | 0.47918 | 3.1824 | 0.76666 | 0.088501 | Done
H/N R67 | 125.1325 | 8.3162 | 31461.4095 | 5061.2304 | 1.2751 | 0.65303 | 3.1824 | 0.78427 | 0.12621 | Done
H/N N68 | 113.2617 | 6.1683 | 53167.3806 | 13974.7511 | 1.7862 | 1.2792 | 3.1824 | 0.55986 | 0.12599 | Done
H/N V69 | 111.3236 | 7.9582 | 34377.4263 | 4757.9652 | 1.8138 | 0.67882 | 3.1824 | 0.55133 | 0.064837 | Done
H/N D70 | 119.1971 | 8.2517 | 20643.9408 | 2717.7047 | 0.5365 | 0.32734 | 3.1824 | 1.8639 | 0.35735 | Done
H/N H71 | 127.434 | 7.7939 | 17651.7597 | 2585.2535 | 1.2361 | 0.58421 | 3.1824 | 0.80901 | 0.12015 | Done
H/N N72 | 117.5013 | 6.72 | 50217.0729 | 7683.9543 | 1.4625 | 0.67026 | 3.1824 | 0.68375 | 0.098465 | Done
H/N R73 | 117.5013 | 6.7845 | 47461.7132 | 5586.8485 | 1.1547 | 0.45178 | 3.1824 | 0.86606 | 0.10648 | Done
H/N V74 | 114.9575 | 7.8174 | 43488.0065 | 5735.7751 | 1.4366 | 0.57212 | 3.1824 | 0.69608 | 0.087105 | Done
H/N V75 | 125.9805 | 7.7059 | 32899.2787 | 2579.8814 | 0.29361 | 0.12487 | 3.1824 | 3.4059 | 0.45513 | Done
H/N D78 | 120.7718 | 8.3984 | 38247.2762 | 5372.2625 | 1.6823 | 0.66293 | 3.1824 | 0.59441 | 0.073602 | Done
H/N G79 | 107.084 | 8.0991 | 43703.4256 | 6042.1766 | 1.6914 | 0.65434 | 3.1824 | 0.59123 | 0.07187 | Done
H/N S80 | 111.0814 | 8.0169 | 68430.1982 | 3636.2448 | 1.3655 | 0.22413 | 3.1824 | 0.73234 | 0.037772 | Done
H/N V81 | 113.7462 | 8.4219 | 40219.9494 | 7298.9987 | 1.1771 | 0.70415 | 3.1824 | 0.84955 | 0.15969 | Done
H/N T82 | 113.3828 | 7.9993 | 32265.1656 | 3740.002 | 1.197 | 0.45405 | 3.1824 | 0.83542 | 0.099576 | Done
H/N F83 | 120.4084 | 8.5744 | 52264.6929 | 9234.7309 | 1.6088 | 0.81465 | 3.1824 | 0.62157 | 0.098897 | Done
H/N G84 | 106.4784 | 7.5709 | 21018.3535 | 2547.4455 | 1.2467 | 0.48581 | 3.1824 | 0.80209 | 0.098209 | Done
H/N F85 | 112.1715 | 7.2012 | 47028.7584 | 10285.6698 | 1.4931 | 0.96887 | 3.1824 | 0.66975 | 0.13656 | Done
H/N T86 | 111.687 | 8.3456 | 32984.4517 | 2343.824 | 1.4752 | 0.31273 | 3.1824 | 0.67786 | 0.045154 | Done
H/N A87 | 124.5269 | 8.5686 | 36610.3874 | 3450.1516 | 1.6385 | 0.4387 | 3.1824 | 0.6103 | 0.051345 | Done
H/N T88 | 114.2308 | 8.4629 | 46458.8337 | 5184.6003 | 1.1651 | 0.43049 | 3.1824 | 0.85831 | 0.099653 | Done
H/N S89 | 118.1069 | 7.9876 | 52320.5903 | 4087.4895 | 1.1537 | 0.29969 | 3.1824 | 0.8668 | 0.070754 | Done
H/N T90 | 115.9266 | 9.5545 | 19924.007 | 830.0392 | 0.68749 | 0.11957 | 3.1824 | 1.4546 | 0.079495 | Done
H/N G91 | 109.2644 | 8.3221 | 41928.8474 | 2173.1257 | 0.61702 | 0.13994 | 3.1824 | 1.6207 | 0.1155 | Done
H/N N92 | 119.9239 | 8.2106 | 18557.4521 | 2245.0554 | 0.35066 | 0.22318 | 3.1824 | 2.8518 | 0.57034 | Done
H/N D93 | 125.4959 | 7.6296 | 10447.0289 | 1942.2447 | 0.99671 | 0.65647 | 3.1824 | 1.0033 | 0.20764 | Done
H/N F94 | 118.4703 | 7.8467 | 29536.3897 | 1752.4513 | 1.3107 | 0.2446 | 3.1824 | 0.76296 | 0.044741 | Done
H/N V96 | 121.4986 | 8.7035 | 27324.5388 | 5285.55 | 1.4105 | 0.83067 | 3.1824 | 0.70896 | 0.13119 | Done
H/N D97 | 120.2873 | 8.193 | 38928.2269 | 1774.3245 | 0.85594 | 0.14777 | 3.1824 | 1.1683 | 0.063376 | Done
H/N S98 | 115.1998 | 8.105 | 19128.4832 | 1271.5219 | 0.45393 | 0.14849 | 3.1824 | 2.203 | 0.22644 | Done
H/N I99 | 122.1043 | 8.4277 | 33623.5509 | 2816.8455 | 0.5583 | 0.21337 | 3.1824 | 1.7911 | 0.21509 | Done
H/N G100 | 113.0195 | 8.0169 | 8103.9271 | 1219.4293 | 0.81155 | 0.47359 | 3.1824 | 1.2322 | 0.22595 | Done
H/N C101 | 119.4394 | 8.9265 | 20188.4219 | 2736.031 | 0.55409 | 0.34361 | 3.1824 | 1.8048 | 0.35168 | Done
H/N V102 | 124.1635 | 9.0733 | 24666.881 | 4037.9097 | 1.3293 | 0.68021 | 3.1824 | 0.75226 | 0.12095 | Done
H/N A103 | 127.7974 | 8.4101 | 29241.7966 | 1439.2412 | 0.55353 | 0.12471 | 3.1824 | 1.8066 | 0.1279 | Done
HE1/NE1 W40 | 128.7665 | 10.5228 | 41425.0589 | 4335.637 | 0.97682 | 0.36539 | 3.1824 | 1.0237 | 0.12033 | Done
HE1/NE1 W52 | 129.6144 | 10.0826 | 14027.8851 | 1723.1452 | 0.25809 | 0.17553 | 3.1824 | 3.8746 | 0.82799 | Done
HE1/NE1 W15 | 129.7355 | 10.065 | 25374.6957 | 2768.5221 | 0.60704 | 0.29184 | 3.1824 | 1.6473 | 0.24886 | Done
HE1/NE1 W36 | 129.6144 | 9.801 | 44252.1937 | 9207.3179 | 1.6117 | 0.96021 | 3.1824 | 0.62045 | 0.11615 | Done