## Sample
sample name: | 15N-ScCBM2 (82 uM) + 0.25 mM Gd
Description/Title:
Origin: | in-house
Date of preparation: | 27 Sep 2023
Solvent: | D2O
pH: | 7.0
Sample tube: | normal
Tube diameter (mm): | 3
Concentration (mM): | 10.00
Temperature (K): | 308.0
Weight (Daltons): | 8900
Correlation time (ns): | 4.00
Labelling: | 15N
Sequence format: | FASTA file
Sequence file: | ???
PDB file: | ???

## Parameter
Proton frequency[MHz]: | 800.03
X nucleus frequency[MHz]: | 81.0663

## integrals
Time [s]: | 0.00185 | 0.0037 | 0.0074 | 0.0296 | 0.0592
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 8467.4375 | 7038.5312 | 5277.4375 | 2423.3594 | -159.625
H/N G3 | 688.6406 | 2293.625 | 1525.9688 | 770.7031 | -1515.1328
H/N S4 | 11131.7031 | 11644.4062 | 9713.125 | 2553.4062 | 1499.3594
H/N C5 | 1008.6875 | 1437.625 | -477.25 | 535.3594 | 1609.6094
H/N M6 | 10031.25 | 10640.4062 | 7815.3438 | 3338.6875 | 1808.5469
H/N A7 | 18792.4219 | 13740.2812 | 13001.375 | 7292.125 | 2429.7266
H/N V8 | 16152.3906 | 14095.75 | 14097.3438 | 5116.1094 | 2424.1172
H/N Y9 | 15484.1562 | 15425.375 | 13251.625 | 5171.3125 | 2919.1094
H/N S10 | -1532.7031 | 645.4688 | -257.3125 | -469.5938 | 36.8359
H/N V11 | 21640.6562 | 22442.5625 | 16495.0312 | 10043.9375 | 4452.4766
H/N E12 | 15380.1875 | 14374.375 | 10700.1875 | 3846.0312 | 1686.8359
H/N N13 | 24860.8281 | 27431.4688 | 23217.5312 | 11001.6719 | 5159.6641
H/N S14 | 15264.8594 | 13846.0938 | 8195.4688 | 5314.4375 | 1335.8047
H/N W15 | 24138.875 | 23432.75 | 17129.7188 | 11428 | 5348.0938
H/N S16 | -1231.3594 | -186.125 | 834.5 | -1116.0312 | -1178
H/N G17 | 13363.4844 | 10891.2812 | 9047.125 | 3441.8125 | 2024.1172
H/N G18 | 35249.0938 | 27825.125 | 25912.9688 | 12391.2188 | 6146.4375
H/N F19 | 25552.3594 | 20597.0312 | 17097.3438 | 9015.25 | 5085
H/N Q20 | 13756.4062 | 14041.5625 | 9705.1562 | 5537.1875 | 820.3984
H/N G21 | 16674.4062 | 13297.7812 | 12305.1875 | 5783.5781 | 488.2422
H/N S22 | 20184.5156 | 20233.5 | 12179.9688 | 9843.1406 | 4001.2422
H/N V23 | 18052.5625 | 15752.4688 | 11076.9375 | 5377.1094 | 2100.6719
H/N E24 | 18576.4062 | 15211.5625 | 12071.2188 | 5928.0781 | 2033.2109
H/N V25 | 14799.3594 | 16391.4375 | 12996 | 4891.1562 | 1343.1016
H/N M26 | 17169.3281 | 15195.9688 | 11834.5 | 5960.8438 | 514.3281
H/N N27 | 12300.25 | 11139.2188 | 7101.7188 | 4028.8438 | 1123.6953
H/N H28 | 18695.1562 | 17141.5625 | 12936.8125 | 8622.2656 | 3412.7656
H/N G29 | 22291 | 18353.5312 | 15787.1875 | 6887.0469 | 4394.9688
H/N T30 | 11896.1562 | 9555.5938 | 7200.6562 | 2302.4062 | -676.1016
H/N E31 | 28553.2812 | 23761.625 | 23745.9375 | 10826.9219 | 4726.3047
H/N L33 | 14577.25 | 10534.3438 | 8325.1875 | 6016.8594 | 2350.4844
H/N N34 | 12357.3281 | 10464 | 8969.4375 | 3305.4219 | 253.8672
H/N G35 | 11770.9375 | 10770.6875 | 8563.6562 | 4473.625 | 3943.4375
H/N W36 | 17903.2188 | 14424.9375 | 13560.6875 | 7335.4062 | 2900.3203
H/N A37 | 992.1562 | 464.25 | -920.4688 | -32.0625 | -202.8359
H/N V38 | 9439.6562 | 9848.4688 | 5134.1562 | 2867.3438 | 789.3281
H/N Q39 | 22320.5156 | 18996.5312 | 17343 | 8253.8906 | 3847.7969
H/N W40 | 17162.0312 | 14551.7812 | 13264.7188 | 9675.9062 | 3052.8203
H/N Q41 | 11651.9844 | 9168.375 | 6754.7812 | 5566.7344 | 1248.8516
H/N G43 | 15418.8281 | 13025.9062 | 11424.5312 | 4224.3906 | 2236.6641
H/N G44 | 7615.8906 | 4881.6562 | 4095.9062 | -82.4219 | -771.8203
H/N G45 | 1443.9375 | 469.875 | -1307.5312 | -1568.7344 | -675.7734
H/N T46 | 27157 | 26007.125 | 20629.7188 | 13689.6562 | 6104.4297
H/N T47 | 20393.2656 | 20440.75 | 14401.4688 | 8702.5781 | 5138.125
H/N L48 | 17651.4844 | 16957.5312 | 13907.0938 | 7194.25 | 1591.5469
H/N G49 | 17217.5625 | 17514.7188 | 13022.8438 | 6756.8438 | 3595.1562
H/N G50 | 21755.7188 | 16629 | 16992 | 7620.2656 | 3250.4375
H/N V51 | 23677.5625 | 21879.0938 | 17351.8125 | 9556.6875 | 4965.125
H/N W52 | 17491.2031 | 18763.2812 | 14095.5312 | 5844.8438 | 834.1484
H/N N53 | 5626.9844 | 5451.5312 | 1978.4062 | 1012.3906 | 91.9766
H/N S55 | 13959.5312 | 14354.3125 | 9615.4375 | 4435.5469 | 2789.7266
H/N L56 | 10387.2031 | 9351.0938 | 6646.6875 | 1536.875 | -99.9531
H/N T57 | 18845.2188 | 17819.875 | 17720.5938 | 8158.2188 | 3343.3984
H/N S58 | 9254.5625 | 8775.5 | 6268.0625 | 1631.3438 | 2072.2031
H/N G59 | 17276.0156 | 13441.2812 | 8589.9375 | 5869.1719 | 3766.2031
H/N S60 | -707.1406 | 1107.4688 | -1526.7812 | 48.0781 | -326.0469
H/N D61 | -417.8906 | 715.9375 | 688.3125 | -743.9844 | 157.2266
H/N G62 | 15015.4844 | 12612.3125 | 9529.5312 | 3045.5469 | 982.7969
H/N T63 | 35150.2656 | 32270.3438 | 29535.5938 | 13914.9531 | 7059.9219
H/N V64 | 15737.4844 | 9846.4375 | 11364 | 7570.2188 | 2971.875
H/N T65 | 20626.0781 | 18729.0312 | 13921.0625 | 9573.375 | 2471.125
H/N V66 | 11165.7969 | 8449.7188 | 7098.875 | 5148.75 | 2228.2109
H/N R67 | 14444.7344 | 13948.4062 | 8412.5625 | 3089.1094 | 1408.6328
H/N N68 | 19705.6719 | 17610.1562 | 13496.9688 | 9186.0312 | 1990.125
H/N V69 | 12043.9375 | 11375.0312 | 9650 | 3346.25 | 1283.4844
H/N D70 | 10668.6875 | 10383.3125 | 9000.0312 | 2483.9688 | 1011.0781
H/N H71 | 8274.4844 | 8450.375 | 8185.5938 | 4409.1406 | 117.0625
H/N N72 | 18919.5781 | 15036.125 | 15618 | 6826.6562 | 2035.1484
H/N R73 | 23399.9375 | 17199.75 | 14494.0312 | 9010.7188 | 2351.5078
H/N V74 | 19459.4688 | 19759.0312 | 16357.5938 | 8601.6875 | 3566.8438
H/N V75 | 21280.4844 | 18219.875 | 16286.2812 | 9956.1875 | 4792.3516
H/N D78 | 13999.1094 | 12629.3125 | 10479.6562 | 6447.9531 | 2215.4844
H/N G79 | 16925.3125 | 13665.0938 | 12853.3125 | 7070.6406 | 2632.6094
H/N S80 | 32814.25 | 28242.6875 | 26320.9062 | 18089.1094 | 7977.6953
H/N V81 | 19841.8594 | 17571.625 | 12722.25 | 5236.7812 | 1962.875
H/N T82 | 18470.2188 | 13327.5938 | 11765.4062 | 7993.1875 | 2706.3984
H/N F83 | 22347.8438 | 20602.0938 | 14418.2188 | 6404.5469 | 5216.5859
H/N G84 | 10848.3281 | 9290.5312 | 5478.3125 | 2243.75 | 576.8359
H/N F85 | 22014.9688 | 18270.375 | 15735.3125 | 5159.2969 | 4138.4375
H/N T86 | 17622.9062 | 15780.0625 | 12390.5625 | 4865.2969 | 1898.2969
H/N A87 | 22320.5156 | 18996.5312 | 17343 | 8253.8906 | 3847.7969
H/N T88 | 21695.4219 | 20816.7812 | 15120.6875 | 9459.4062 | 3202.8438
H/N S89 | 27554.3594 | 24423.125 | 20306.0938 | 10088.1562 | 6352.4688
H/N T90 | 10439.4375 | 9451.9062 | 6385.1562 | 2278.7188 | -590.0391
H/N G91 | 26513.1094 | 21676.1562 | 16876.9062 | 8407.7188 | 5567.9219
H/N N92 | 10026.5938 | 10130.1875 | 6687.6562 | 2571.3438 | 1673.9531
H/N D93 | 10845.6406 | 6946.8438 | 5297.0938 | 179.25 | -419.3203
H/N F94 | 17473.125 | 15319.0938 | 13910 | 7965 | 4623.4766
H/N V96 | 14537.6094 | 13071.2188 | 9240.6875 | 3525.1875 | 1368.6641
H/N D97 | 19359 | 17330.7188 | 14441.1875 | 7800.7656 | 2650.1172
H/N S98 | 14456.2656 | 12170.5938 | 8827.4688 | 5930.5312 | 253.1641
H/N I99 | 18119.0781 | 19369.5312 | 16900.9062 | 8105.625 | 3412.8984
H/N G100 | 5607 | 4518.25 | 5448.6562 | 2170.9688 | 2041.1484
H/N C101 | 8920.7969 | 7732.25 | 9227.4688 | 2051.7031 | 1066.2188
H/N V102 | 11916.9219 | 11156.875 | 8376.0938 | 3195.875 | 0.09375
H/N A103 | 20257.5312 | 20125.125 | 12950.75 | 7259.8438 | 3724.2109
HE1/NE1 W40 | 20261.3438 | 20692.875 | 14037.2812 | 5596.625 | 3941.0156
HE1/NE1 W52 | 17968.7188 | 17756.875 | 14013.0312 | 6654.2344 | 332.3281
HE1/NE1 W15 | 23684.9375 | 22949.2812 | 16502.0938 | 5976.9531 | -5.875
HE1/NE1 W36 | 15513.1094 | 13294.625 | 12042.4375 | 7510.5312 | 805.9688

## integral errors
Time [s]: | 0.00185 | 0.0037 | 0.0074 | 0.0296 | 0.0592
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G3 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S4 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N C5 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N M6 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N A7 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V8 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N Y9 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S10 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V11 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N E12 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N13 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S14 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N W15 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S16 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G17 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G18 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N F19 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N Q20 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G21 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S22 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V23 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N E24 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V25 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N M26 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N27 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N H28 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G29 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T30 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N E31 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N L33 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N34 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G35 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N W36 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N A37 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V38 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N Q39 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N W40 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N Q41 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G43 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G44 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G45 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T46 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T47 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N L48 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G49 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G50 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V51 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N W52 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N53 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S55 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N L56 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T57 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S58 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G59 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S60 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N D61 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G62 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T63 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V64 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T65 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V66 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N R67 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N68 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V69 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N D70 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N H71 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N72 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N R73 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V74 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V75 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N D78 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G79 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S80 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V81 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T82 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N F83 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G84 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N F85 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T86 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N A87 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T88 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S89 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N T90 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G91 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N N92 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N D93 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N F94 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V96 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N D97 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N S98 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N I99 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N G100 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N C101 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N V102 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
H/N A103 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
HE1/NE1 W40 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
HE1/NE1 W52 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
HE1/NE1 W15 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682
HE1/NE1 W36 | 667.262 | 658.1589 | 668.8621 | 773.7474 | 728.0682

## back calculation from fit
Time [s]: | 0.00185 | 0.0037 | 0.0074 | 0.0296 | 0.0592
Peak name | I0 | I1 | I2 | I3 | I4
H/N T2 | 7980.3639 | 7213.1247 | 5892.8437 | 1751.9989 | 347.6528
H/N G3 | 0 | 0 | 0 | 0 | 0
H/N S4 | 11950.2841 | 10970.0369 | 9244.1674 | 3309.9855 | 841.5963
H/N C5 | 0 | 0 | 0 | 0 | 0
H/N M6 | 10389.2675 | 9688.1635 | 8424.7015 | 3642.7797 | 1191.0704
H/N A7 | 16608.2594 | 15619.9538 | 13816.2759 | 6616.9601 | 2479.4111
H/N V8 | 16014.1084 | 14960.835 | 13057.5583 | 5771.6344 | 1943.3362
H/N Y9 | 15928.1227 | 14914.6925 | 13077.1687 | 5941.6937 | 2075.4182
H/N S10 | 0 | 0 | 0 | 0 | 0
H/N V11 | 21773.6568 | 20641.5078 | 18550.7514 | 9774.2183 | 4159.5155
H/N E12 | 15226.4749 | 13888.0894 | 11553.9043 | 3830.4195 | 878.8939
H/N N13 | 26873.4941 | 25428.9387 | 22768.6053 | 11732.3659 | 4846.756
H/N S14 | 14159.4449 | 13034.8389 | 11046.4963 | 4092.0209 | 1088.6516
H/N W15 | 23243.4498 | 22107.2197 | 19998.6743 | 10959.8266 | 4915.1901
H/N S16 | 0 | 0 | 0 | 0 | 0
H/N G17 | 12415.7216 | 11428.1145 | 9682.3287 | 3581.0572 | 950.7212
H/N G18 | 32260.4338 | 30320.1442 | 26782.6399 | 12722.8997 | 4715.8835
H/N F19 | 23001.7196 | 21643.5643 | 19163.0987 | 9231.8227 | 3486.4471
H/N Q20 | 13881.3013 | 12905.0087 | 11153.5867 | 4648.9195 | 1447.4448
H/N G21 | 15657.8064 | 14495.0915 | 12422.2724 | 4921.3194 | 1431.9315
H/N S22 | 19129.1325 | 18156.0474 | 16355.8594 | 8741.4955 | 3791.4229
H/N V23 | 16899.4617 | 15533.0764 | 13122.8055 | 4771.3577 | 1238.214
H/N E24 | 17079.2467 | 15808.5268 | 13543.6829 | 5355.6111 | 1554.4332
H/N V25 | 16149.5587 | 14962.4914 | 12843.708 | 5138.1819 | 1514.6126
H/N M26 | 16513.3048 | 15228.0848 | 12949.9434 | 4897.8262 | 1339.6274
H/N N27 | 11556.8094 | 10622.611 | 8974.6584 | 3263.9075 | 847.288
H/N H28 | 17635.7238 | 16719.518 | 15027.4291 | 7922.2817 | 3373.943
H/N G29 | 20578.5247 | 19247.7142 | 16838.7175 | 7548.977 | 2590.1618
H/N T30 | 11375.4843 | 9946.53 | 7604.5761 | 1518.7821 | 177.3057
H/N E31 | 27327.6946 | 25750.2409 | 22863.2466 | 11201.5345 | 4326.4366
H/N L33 | 12252.9044 | 11579.9195 | 10342.8095 | 5250.9327 | 2126.6712
H/N N34 | 11964.068 | 10899.9637 | 9047.2671 | 2958.5 | 666.5158
H/N G35 | 10988.7953 | 10490.3213 | 9560.183 | 5476.8481 | 2605.8536
H/N W36 | 16554.38 | 15638.7976 | 13956.748 | 7051.305 | 2837.3736
H/N A37 | 0 | 0 | 0 | 0 | 0
H/N V38 | 9417.9987 | 8533.8782 | 7006.8379 | 2146.7222 | 443.3849
H/N Q39 | 21189.8875 | 19935.7778 | 17645.8367 | 8485.8759 | 3197.1958
H/N W40 | 16099.0699 | 15399.3147 | 14089.7282 | 8266.2766 | 4059.9408
H/N Q41 | 10148.9545 | 9592.3447 | 8569.0311 | 4354.8518 | 1766.1555
H/N G43 | 14703.8657 | 13599.1501 | 11632.4781 | 4556.5392 | 1305.9271
H/N G44 | 0 | 0 | 0 | 0 | 0
H/N G45 | 0 | 0 | 0 | 0 | 0
H/N T46 | 26360.1374 | 25146.3865 | 22883.9726 | 12997.6973 | 6113.8261
H/N T47 | 19829.3892 | 18819.9052 | 16952.4947 | 9055.8817 | 3925.1859
H/N L48 | 17699.8949 | 16561.0611 | 14498.5009 | 6527.2876 | 2252.2276
H/N G49 | 17245.6564 | 16249.6427 | 14426.8658 | 7065.4696 | 2727.5105
H/N G50 | 20045.6227 | 18817.2521 | 16581.7172 | 7763.7101 | 2822.6415
H/N V51 | 22671.1097 | 21431.3252 | 19151.444 | 9752.5124 | 3965.8519
H/N W52 | 18612.0153 | 17164.1691 | 14597.6032 | 5523.7519 | 1511.8347
H/N N53 | 6009.7463 | 4576.886 | 2654.5934 | 101.0568 | 1.2942
H/N S55 | 13948.7035 | 12983.1452 | 11247.9159 | 4755.8148 | 1509.2532
H/N L56 | 10452.0635 | 9104.9817 | 6909.2857 | 1319.3427 | 145.0742
H/N T57 | 19344.1717 | 18306.9387 | 16396.3394 | 8463.1872 | 3504.1553
H/N S58 | 9204.1859 | 8335.8005 | 6837.0881 | 2081.6818 | 426.3882
H/N G59 | 14543.5606 | 13655.8804 | 12039.7542 | 5654.642 | 2064.3743
H/N S60 | 0 | 0 | 0 | 0 | 0
H/N D61 | 0 | 0 | 0 | 0 | 0
H/N G62 | 14402.1804 | 12850.1301 | 10229.775 | 2603.8588 | 420.0354
H/N T63 | 34687.4556 | 32777.7425 | 29267.9449 | 14834.447 | 5994.83
H/N V64 | 13208.0969 | 12634.6348 | 11561.3242 | 6786.9853 | 3336.0766
H/N T65 | 19461.4374 | 18355.2805 | 16328.0096 | 8090.3365 | 3172.0817
H/N V66 | 9638.0578 | 9184.1141 | 8339.3606 | 4674.1825 | 2160.0786
H/N R67 | 14417.2551 | 12803.7263 | 10098.2004 | 2430.4662 | 363.8735
H/N N68 | 18583.3857 | 17509.6081 | 15544.6015 | 7610.2443 | 2936.459
H/N V69 | 12194.1892 | 11241.0801 | 9552.527 | 3597.3249 | 978.2762
H/N D70 | 11116.2168 | 10175.7726 | 8526.8408 | 2951.9755 | 717.5941
H/N H71 | 8959.6747 | 8441.7234 | 7493.917 | 3667.5448 | 1414.4823
H/N N72 | 17968.9313 | 16824.2233 | 14748.9319 | 6694.4339 | 2335.1686
H/N R73 | 20367.5385 | 19061.0909 | 16694.2213 | 7534.8855 | 2608.699
H/N V74 | 19928.4211 | 18842.09 | 16843.8528 | 8596.3803 | 3506.0212
H/N V75 | 19891.5257 | 18967.6933 | 17246.7539 | 9746.8537 | 4554.1489
H/N D78 | 13396.2672 | 12682.5275 | 11367.104 | 5892.6949 | 2453.9523
H/N G79 | 15676.4098 | 14812.2049 | 13224.0938 | 6696.4275 | 2702.7934
H/N S80 | 30959.5732 | 29719.6163 | 27386.6976 | 16769.4367 | 8719.4726
H/N V81 | 19002.3352 | 17315.6584 | 14378.1525 | 4712.8924 | 1065.1239
H/N T82 | 15868.2372 | 15017.8884 | 13451.4546 | 6945.9477 | 2877.4946
H/N F83 | 21111.5329 | 19662.8496 | 17056.8896 | 7268.087 | 2330.4896
H/N G84 | 10480.2611 | 9002.8772 | 6643.5435 | 1072.7796 | 94.3318
H/N F85 | 20743.7192 | 19121.7759 | 16248.4307 | 6116.6076 | 1662.5557
H/N T86 | 17104.016 | 15707.0008 | 13245.9651 | 4764.5913 | 1218.8447
H/N A87 | 21189.8875 | 19935.7778 | 17645.8367 | 8485.8759 | 3197.1958
H/N T88 | 20998.9471 | 19779.1622 | 17548.0407 | 8557.6217 | 3284.8763
H/N S89 | 26005.7777 | 24560.4708 | 21906.3676 | 11029.9227 | 4418.165
H/N T90 | 10347.9308 | 9119.4403 | 7082.6784 | 1554.4385 | 205.7824
H/N G91 | 23827.8181 | 22316.0504 | 19574.1741 | 8914.1538 | 3123.2664
H/N N92 | 10078.3246 | 9229.1076 | 7739.3135 | 2691.2797 | 658.1134
H/N D93 | 10330.0006 | 7957.0429 | 4721.2219 | 206.0016 | 3.1644
H/N F94 | 16535.5463 | 15797.2179 | 14417.9903 | 8333.9225 | 4012.753
H/N V96 | 14079.7299 | 12738.449 | 10427.0393 | 3136.3733 | 632.0965
H/N D97 | 18590.4255 | 17470.186 | 15428.1526 | 7318.3354 | 2707.3443
H/N S98 | 13281.9948 | 12329.5789 | 10624.7354 | 4350.4822 | 1322.8068
H/N I99 | 19380.7114 | 18332.155 | 16402.1634 | 8414.4709 | 3455.6339
H/N G100 | 5371.2889 | 5155.1162 | 4748.5208 | 2900.532 | 1503.2692
H/N C101 | 9306.3907 | 8616.3123 | 7385.8713 | 2930.1076 | 854.134
H/N V102 | 11935.4184 | 10814.5625 | 8878.7447 | 2718.9877 | 561.2394
H/N A103 | 19626.7885 | 18343.3979 | 16022.8909 | 7117.1711 | 2412.1045
HE1/NE1 W40 | 20383.1401 | 18829.6571 | 16068.8594 | 6206.4161 | 1745.7498
HE1/NE1 W52 | 18387.7127 | 17013.2733 | 14564.9238 | 5733.6378 | 1654.2189
HE1/NE1 W15 | 24078.1026 | 21718.6249 | 17670.647 | 5125.9364 | 984.3153
HE1/NE1 W36 | 14878.2881 | 14011.3624 | 12426.1094 | 6045.9425 | 2313.6756

## Details
Fitted function: | f(t) = Io * exp (-t/T)
Random error estimation of data: | RMS per spectrum (or trace/plane)
Systematic error estimation of data: | worst case per peak scenario
Fit parameter Error estimation method: | from fit using arbitrary y uncertainties
Confidence level: | 95%
Used peaks: | peaks from peaklist.xml at spectrum
Used integrals: | peak intensities
Used Time: | all values (including replicates) used

## Results
Peak name | F1 [ppm] | F2 [ppm] | Io | error | T2 [s] | error | errorScale | R2 [rad/s] | R2 sd [rad/s] | fitInfo
H/N T2 | 127.434 | 7.7871 | 8829.2122 | 2121.8919 | 0.018302 | 0.012941 | 3.1824 | 54.6388 | 12.1398 | Done
H/N G3 | 111.687 | 8.4679 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N S4 | 115.5632 | 8.2449 | 13018.123 | 2555.378 | 0.021615 | 0.012663 | 3.1824 | 46.2635 | 8.5165 | Done
H/N C5 | 118.7126 | 8.3975 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N M6 | 124.5269 | 8.6733 | 11141.1083 | 2097.3599 | 0.026478 | 0.01504 | 3.1824 | 37.7667 | 6.7405 | Done
H/N A7 | 125.6171 | 8.7202 | 17659.097 | 4495.2628 | 0.030154 | 0.023366 | 3.1824 | 33.1627 | 8.0745 | Done
H/N V8 | 120.6507 | 8.732 | 17141.5343 | 2400.0284 | 0.027192 | 0.011505 | 3.1824 | 36.7753 | 4.8891 | Done
H/N Y9 | 133.6117 | 9.0958 | 17010.4139 | 2005.0751 | 0.028141 | 0.010045 | 3.1824 | 35.5348 | 3.9858 | Done
H/N S10 | 115.3209 | 8.7379 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N V11 | 122.5888 | 8.4444 | 22967.9022 | 3894.2489 | 0.034646 | 0.01815 | 3.1824 | 28.8632 | 4.7513 | Done
H/N E12 | 128.2819 | 8.6146 | 16693.8398 | 2215.8553 | 0.020108 | 0.0079252 | 3.1824 | 49.7319 | 6.1592 | Done
H/N N13 | 113.504 | 7.5935 | 28400.1112 | 4237.6525 | 0.033483 | 0.01537 | 3.1824 | 29.8663 | 4.3079 | Done
H/N S14 | 117.0168 | 8.509 | 15381.0784 | 5579.1783 | 0.022355 | 0.024249 | 3.1824 | 44.7331 | 15.2472 | Done
H/N W15 | 122.4677 | 8.1979 | 24438.0781 | 4640.1077 | 0.036912 | 0.021859 | 3.1824 | 27.0914 | 5.0412 | Done
H/N S16 | 113.7462 | 8.6205 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N G17 | 119.3183 | 8.9374 | 13488.6767 | 2728.411 | 0.02232 | 0.0135 | 3.1824 | 44.8038 | 8.5152 | Done
H/N G18 | 111.2025 | 7.394 | 34324.8891 | 6245.207 | 0.029825 | 0.016503 | 3.1824 | 33.5293 | 5.8298 | Done
H/N F19 | 112.6561 | 7.5759 | 24445.1006 | 5556.0681 | 0.030397 | 0.021045 | 3.1824 | 32.8977 | 7.1568 | Done
H/N Q20 | 118.4703 | 8.5853 | 14931.4525 | 3329.8965 | 0.025368 | 0.01703 | 3.1824 | 39.4201 | 8.3154 | Done
H/N G21 | 114.473 | 8.0688 | 16913.7878 | 3226.6507 | 0.023976 | 0.013729 | 3.1824 | 41.7079 | 7.5044 | Done
H/N S22 | 115.0787 | 8.3857 | 20154.3709 | 6878.4722 | 0.035435 | 0.037483 | 3.1824 | 28.2209 | 9.3803 | Done
H/N V23 | 123.5578 | 8.1921 | 18386.0427 | 4275.6649 | 0.021943 | 0.015243 | 3.1824 | 45.573 | 9.948 | Done
H/N E24 | 127.0706 | 8.1334 | 18452.1095 | 3673.0182 | 0.023928 | 0.014295 | 3.1824 | 41.7917 | 7.8453 | Done
H/N V25 | 129.251 | 9.1017 | 17430.8034 | 3158.7572 | 0.024232 | 0.013188 | 3.1824 | 41.2682 | 7.0573 | Done
H/N M26 | 123.0733 | 8.9785 | 17906.9947 | 3034.1514 | 0.022832 | 0.011583 | 3.1824 | 43.7973 | 6.9815 | Done
H/N N27 | 117.5013 | 7.9515 | 12573.1653 | 3696.2828 | 0.021948 | 0.019275 | 3.1824 | 45.5622 | 12.5731 | Done
H/N H28 | 123.9212 | 8.7261 | 18602.1363 | 3495.3667 | 0.034677 | 0.020135 | 3.1824 | 28.8377 | 5.2615 | Done
H/N G29 | 109.1433 | 8.3036 | 22001.3491 | 4398.6882 | 0.027672 | 0.016736 | 3.1824 | 36.1382 | 6.8677 | Done
H/N T30 | 106.3573 | 7.5759 | 13009.7272 | 3071.3696 | 0.013782 | 0.0090418 | 3.1824 | 72.5604 | 14.9587 | Done
H/N E31 | 120.4084 | 7.5935 | 29001.7827 | 3708.0752 | 0.031115 | 0.012144 | 3.1824 | 32.1387 | 3.9413 | Done
H/N L33 | 122.8311 | 8.2977 | 12965.0009 | 4784.6021 | 0.032749 | 0.037085 | 3.1824 | 30.5354 | 10.8653 | Done
H/N N34 | 123.4367 | 8.8376 | 13132.055 | 1394.121 | 0.019861 | 0.0062544 | 3.1824 | 50.3505 | 4.9823 | Done
H/N G35 | 113.1406 | 8.1686 | 11510.9555 | 2885.1875 | 0.039851 | 0.031588 | 3.1824 | 25.0936 | 6.2501 | Done
H/N W36 | 112.2927 | 7.6639 | 17523.5657 | 2692.677 | 0.032516 | 0.015319 | 3.1824 | 30.7545 | 4.5529 | Done
H/N A37 | 120.1662 | 8.4914 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N V38 | 121.9831 | 9.5947 | 10393.7152 | 4354.5857 | 0.018767 | 0.023198 | 3.1824 | 53.2858 | 20.6972 | Done
H/N Q39 | 124.5269 | 8.5677 | 22522.89 | 2414.7394 | 0.030324 | 0.009901 | 3.1824 | 32.9773 | 3.3834 | Done
H/N W40 | 123.9212 | 8.6674 | 16830.6223 | 3177.2058 | 0.041631 | 0.025083 | 3.1824 | 24.0208 | 4.5477 | Done
H/N Q41 | 120.7718 | 9.3599 | 10737.8624 | 3904.3986 | 0.032798 | 0.0366 | 3.1824 | 30.4894 | 10.6911 | Done
H/N G43 | 107.4474 | 8.9491 | 15898.3219 | 2180.3865 | 0.023687 | 0.0097447 | 3.1824 | 42.2179 | 5.4576 | Done
H/N G44 | 108.4165 | 8.7261 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N G45 | 114.3519 | 8.8963 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N T46 | 119.3183 | 7.9456 | 27632.473 | 3602.2327 | 0.039246 | 0.016131 | 3.1824 | 25.4804 | 3.2909 | Done
H/N T47 | 123.0733 | 8.5501 | 20893.0212 | 4655.8503 | 0.035407 | 0.024452 | 3.1824 | 28.2433 | 6.129 | Done
H/N L48 | 130.8257 | 9.2778 | 18917.0415 | 1772.4804 | 0.027818 | 0.0078873 | 3.1824 | 35.9484 | 3.2028 | Done
H/N G49 | 111.5659 | 9.043 | 18302.7203 | 3049.9997 | 0.031098 | 0.015818 | 3.1824 | 32.1564 | 5.1395 | Done
H/N G50 | 110.1123 | 7.7519 | 21354.1801 | 4202.9016 | 0.029255 | 0.017485 | 3.1824 | 34.182 | 6.4195 | Done
H/N V51 | 120.045 | 8.1275 | 23982.6146 | 3344.9221 | 0.032896 | 0.014086 | 3.1824 | 30.3988 | 4.09 | Done
H/N W52 | 125.1325 | 8.7907 | 20181.9914 | 3494.7417 | 0.022844 | 0.011844 | 3.1824 | 43.7748 | 7.1314 | Done
H/N N53 | 114.5942 | 9.3306 | 7891.1842 | 5379.4069 | 0.0067924 | 0.0088753 | 3.1824 | 147.2236 | 60.4471 | Done
H/N S55 | 115.0787 | 8.6792 | 14986.0704 | 3873.6037 | 0.02579 | 0.020084 | 3.1824 | 38.7754 | 9.4885 | Done
H/N L56 | 131.5525 | 8.8787 | 11998.4459 | 1108.4642 | 0.013408 | 0.0034131 | 3.1824 | 74.5825 | 5.9657 | Done
H/N T57 | 121.4986 | 9.1193 | 20440.1723 | 2180.7585 | 0.033569 | 0.011021 | 3.1824 | 29.7897 | 3.0733 | Done
H/N S58 | 119.3183 | 8.6146 | 10163.0357 | 3338.1363 | 0.018668 | 0.018081 | 3.1824 | 53.5669 | 16.3026 | Done
H/N G59 | 112.6561 | 8.5559 | 15488.9432 | 6979.7793 | 0.029375 | 0.04021 | 3.1824 | 34.0422 | 14.6423 | Done
H/N S60 | 117.8647 | 8.8141 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N D61 | 119.6816 | 8.0982 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #NUM! | Fail
H/N G62 | 107.3263 | 7.8165 | 16141.6887 | 2357.0111 | 0.016224 | 0.0068465 | 3.1824 | 61.6355 | 8.1728 | Done
H/N T63 | 111.3236 | 7.5465 | 36708.4333 | 2272.1482 | 0.032669 | 0.0062032 | 3.1824 | 30.61 | 1.8263 | Done
H/N V64 | 117.5013 | 8.5559 | 13807.5875 | 5223.9321 | 0.041678 | 0.050341 | 3.1824 | 23.9936 | 9.1064 | Done
H/N T65 | 116.29 | 8.1862 | 20634.2554 | 4560.8756 | 0.031614 | 0.021363 | 3.1824 | 31.6312 | 6.7163 | Done
H/N V66 | 127.3129 | 9.4773 | 10114.4387 | 2961.8545 | 0.038346 | 0.035253 | 3.1824 | 26.078 | 7.5332 | Done
H/N R67 | 125.1325 | 8.3271 | 16234.1211 | 4818.843 | 0.015587 | 0.013266 | 3.1824 | 64.1565 | 17.1576 | Done
H/N N68 | 113.2617 | 6.1733 | 19723.0128 | 4313.9663 | 0.031083 | 0.020751 | 3.1824 | 32.172 | 6.7488 | Done
H/N V69 | 111.3236 | 7.9691 | 13228.1105 | 739.3513 | 0.022732 | 0.003803 | 3.1824 | 43.9917 | 2.3126 | Done
H/N D70 | 119.1971 | 8.2566 | 12143.5769 | 1488.6579 | 0.020929 | 0.007641 | 3.1824 | 47.7813 | 5.4816 | Done
H/N H71 | 127.434 | 7.793 | 9509.4054 | 2588.1236 | 0.031068 | 0.025806 | 3.1824 | 32.1878 | 8.4013 | Done
H/N N72 | 117.5013 | 6.7249 | 19191.5245 | 3337.03 | 0.028105 | 0.014798 | 3.1824 | 35.5808 | 5.8867 | Done
H/N R73 | 117.5013 | 6.7895 | 21763.53 | 6671.6216 | 0.027906 | 0.025892 | 3.1824 | 35.8342 | 10.4473 | Done
H/N V74 | 114.9575 | 7.8224 | 21077.3841 | 1626.9295 | 0.033004 | 0.0078239 | 3.1824 | 30.2993 | 2.257 | Done
H/N V75 | 125.9805 | 7.7167 | 20860.3539 | 2567.9327 | 0.038901 | 0.015074 | 3.1824 | 25.7063 | 3.1299 | Done
H/N D78 | 120.7718 | 8.4092 | 14150.1744 | 1747.0197 | 0.033789 | 0.012848 | 3.1824 | 29.5951 | 3.536 | Done
H/N G79 | 107.084 | 8.1099 | 16591.0359 | 2542.9423 | 0.032625 | 0.015337 | 3.1824 | 30.6516 | 4.5279 | Done
H/N S80 | 111.0814 | 8.0278 | 32251.2633 | 4000.0969 | 0.04526 | 0.018286 | 3.1824 | 22.0946 | 2.805 | Done
H/N V81 | 113.7462 | 8.4327 | 20853.307 | 3726.2559 | 0.019903 | 0.010551 | 3.1824 | 50.2436 | 8.3698 | Done
H/N T82 | 113.2617 | 8.0102 | 16766.7348 | 5234.924 | 0.033589 | 0.032275 | 3.1824 | 29.7716 | 8.9889 | Done
H/N F83 | 120.4084 | 8.5853 | 22666.9496 | 6612.5839 | 0.026024 | 0.022884 | 3.1824 | 38.4262 | 10.6177 | Done
H/N G84 | 106.3573 | 7.57 | 12200.0856 | 4335.0067 | 0.012175 | 0.011515 | 3.1824 | 82.1348 | 24.4085 | Done
H/N F85 | 112.1715 | 7.212 | 22503.2386 | 5058.8312 | 0.022723 | 0.01529 | 3.1824 | 44.0085 | 9.3049 | Done
H/N T86 | 111.687 | 8.3564 | 18625.2849 | 2022.3371 | 0.021712 | 0.0070379 | 3.1824 | 46.0577 | 4.6912 | Done
H/N A87 | 124.5269 | 8.5677 | 22522.89 | 2414.7394 | 0.030324 | 0.009901 | 3.1824 | 32.9773 | 3.3834 | Done
H/N T88 | 114.2308 | 8.4679 | 22293.9565 | 4179.982 | 0.030914 | 0.017682 | 3.1824 | 32.3477 | 5.8138 | Done
H/N S89 | 118.1069 | 7.9925 | 27536.1365 | 4445.3874 | 0.032354 | 0.016006 | 3.1824 | 30.9084 | 4.8047 | Done
H/N T90 | 115.9266 | 9.5536 | 11741.9127 | 2808.1014 | 0.014639 | 0.0098928 | 3.1824 | 68.3125 | 14.5063 | Done
H/N G91 | 109.2644 | 8.3329 | 25441.9984 | 6874.9135 | 0.028224 | 0.0231 | 3.1824 | 35.4311 | 9.1123 | Done
H/N N92 | 119.9239 | 8.2156 | 11005.6824 | 2911.39 | 0.021017 | 0.016563 | 3.1824 | 47.5809 | 11.7825 | Done
H/N D93 | 125.4959 | 7.6287 | 13410.6241 | 4729.3138 | 0.0070883 | 0.0049249 | 3.1824 | 141.0783 | 30.8005 | Done
H/N F94 | 118.4703 | 7.8517 | 17308.3826 | 1860.3251 | 0.0405 | 0.013812 | 3.1824 | 24.6911 | 2.6459 | Done
H/N V96 | 121.4986 | 8.7026 | 15562.2395 | 2821.0079 | 0.018479 | 0.0098667 | 3.1824 | 54.1142 | 9.0789 | Done
H/N D97 | 120.2873 | 8.1979 | 19782.4981 | 1983.3596 | 0.029766 | 0.0090746 | 3.1824 | 33.5951 | 3.2182 | Done
H/N S98 | 115.1998 | 8.1099 | 14307.9814 | 4507.9687 | 0.024863 | 0.023556 | 3.1824 | 40.2206 | 11.974 | Done
H/N I99 | 122.1043 | 8.4386 | 20489.2427 | 2471.1669 | 0.03326 | 0.012331 | 3.1824 | 30.0658 | 3.5025 | Done
H/N G100 | 113.1406 | 8.0278 | 5596.5266 | 1772.1862 | 0.045036 | 0.046395 | 3.1824 | 22.2045 | 7.1876 | Done
H/N C101 | 119.4394 | 8.9256 | 10051.7372 | 3603.4226 | 0.024012 | 0.02584 | 3.1824 | 41.6455 | 14.082 | Done
H/N V102 | 124.1635 | 9.0841 | 13172.4434 | 1716.602 | 0.018759 | 0.0072126 | 3.1824 | 53.3063 | 6.44 | Done
H/N A103 | 127.7974 | 8.4151 | 20999.9711 | 5806.7057 | 0.027356 | 0.022866 | 3.1824 | 36.5544 | 9.601 | Done
HE1/NE1 W40 | 128.7665 | 10.5278 | 22064.7886 | 5758.463 | 0.023336 | 0.018255 | 3.1824 | 42.8513 | 10.5331 | Done
HE1/NE1 W52 | 129.7355 | 10.0876 | 19873.1879 | 3038.5626 | 0.023813 | 0.010925 | 3.1824 | 41.994 | 6.0538 | Done
HE1/NE1 W15 | 129.7355 | 10.07 | 26693.9103 | 4017.2371 | 0.017938 | 0.0079231 | 3.1824 | 55.7474 | 7.7372 | Done
HE1/NE1 W36 | 129.6144 | 9.8118 | 15798.8531 | 3405.7293 | 0.030816 | 0.020259 | 3.1824 | 32.451 | 6.7037 | Done